DS1019

OUTSULATION® MINERAL WOOL SECUROCK EXOAIR 430 SYSTEM

An Exterior Wall Insulation and Finish System with Moisture Drainage that Incorporates Mineral Wool Continuous Insulation over a Coated Fiberglass Mat Gypsum Sheathing with Integral Air/Water-Resistive Barrier

SPECIFICATION 07 24 19

Tremco CPG Inc.

3735 Green Road

Beachwood, OH 44122

INTRODUCTION

This manufacturer’s guide specification is intended for use by design and construction professionals in the development of project specifications.  By referring to the manufacturer’s “Notes to Specifier” in parentheses and bolded, the specifier may easily select the portions of the comprehensive guide specification which are pertinent to the project.  “Notes to Specifier” should then be deleted from the final specification document.  This guide specification follows the Construction Specification Institute’s MasterFormat and SectionFormat protocols.

It is prudent to place certain parts of the Dryvit Outsulation Mineral Wool Securock ExoAir 430 System Specification in other parts of the project’s total specification, such as sheathing, air and water-resistive barrier membrane, accessory materials, sealants and framing, as applicable.  The project design professional is responsible for verifying that project specifications are suitable for any project.  For assistance in preparing your specifications, please contact your Dryvit Distributor, your local Dryvit Technical Sales Representative, or Dryvit Technical Services.

WARNING

The Outsulation Mineral Wool Securock ExoAir 430 System is defined as an Exterior Insulation and Finish System (EIFS) with Drainage. The EIFS is intended to discharge incidental moisture should it penetrate and reach the drainage plane.  Specifications must be followed, and proper details implemented, to prevent water intrusion which may result in damage to the Outsulation Mineral Wool Securock ExoAir 430 System or other building components.  Care should be taken to ensure that all building envelope elements, such as roofing, windows, flashings, sealants, etc., are compatible with this EIFS.

The Outsulation Mineral Wool Securock ExoAir 430 System is an engineered assembly of numerous compatible components: A coated fiberglass mat gypsum sheathing with an integral air and water-resistive barrier with polyurethane accessory materials, adhesive, rigid mineral wool insulation board, base coat, reinforcing mesh, and finish coat.

DISCLAIMER

It is the responsibility of both the specifier and the purchaser to determine if a product is suitable for its intended use.  The designer selected by the purchaser is responsible for all decisions pertaining to design, detail, structural capability, attachment, shop drawings, etc.  The EIFS Manufacturer has prepared guidelines in the form of specifications, installation details, application instructions and product data sheets to facilitate the design process only.  The Manufacturer is not liable for any errors or omissions in design, detailing, structural capability, attachment, project-specific shop drawings, or the like, whether based upon the information prepared by the Manufacturer or otherwise, or for any changes which purchasers, specifiers, designers, or their appointed representatives may make to the Manufacturer’s published information.

The information contained in this specification conforms to standard detail and product recommendations for the installation of the Dryvit Outsulation Mineral Wool Securock ExoAir 430 System as of the date of publication of this document and is presented in good faith.  Tremco CPG Inc. (Dryvit) assumes no liability, expressed or implied, as to the architecture, engineering or construction of any project.  To ensure that you are using the latest, most complete information, contact your local Dryvit Technical Sales Representative, visit our website at https://www.dryvit.com/or contact Dryvit Engineering at:

Tremco CPG Inc.

3735 Green Road, Beachwood, OH 44122

(800) 556-7752

NOTE

The Trained Contractor Certificate referenced in Sections 1.5.D., 1.7.B.2., 1.7.D.2. of this guide specification indicates certain employees of the EIFS sub-contractor company have been instructed in the proper application of Dryvit products and have received copies of this system’s Application Instructions and Specifications.  The Trained Contractor Program is not an apprenticeship or endorsement.  Each trained contractor is an independent company experienced in the trade and bears responsibility for its own quality.  Tremco CPG Inc. assumes no liability for the performance of a trained contractor.

TABLE OF CONTENTS

PART 1	GENERAL	3

1.1	SUMMARY	3

1.2	RELATED REQUIREMENTS	3

1.3	references	4

1.4	ADMINISTRATIVE REQUIREMENTS	6

1.5	ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS	7

1.6	CLOSEOUT SUBMITTALS	7

1.7	QUALITY ASSURANCE	7

1.8	DELIVERY, STORAGE AND HANDLING	9

1.9	SITE CONDITIONS	9

1.10	WARRANTY	9

PART 2	PRODUCTS	10

2.1	MANUFACTURERS	10

2.2	DESCRIPTION	11

PART 3	EXECUTION	19

3.1	EXAMINATION	19

3.2	PREPARATION	20

3.3	INSTALLATION	21

3.4	SITE QUALITY CONTROL	21

3.5	CLEANING	21

# GENERAL

## SUMMARY

### Provide an Exterior Insulation and Finish System (EIFS) with Drainage that includes the following:

#### Coated fiberglass mat faced gypsum sheathing board panel with integral weather-resistive barrier and air barrier compatible with the adhesive application of the EIFS system.

#### Accessory materials required for treating sheathing joints, fasteners, penetrations, rough openings, and material transitions compatible with substrate surfaces and the adhesive application of the EIFS.

#### Approved mineral wool continuous insulation (ROCKWOOL Frontrock®).

#### Approved fasteners, washer plates and fastening patterns for mechanical attachment of mineral wool insulation boards.

#### Joint sealants or expanding, compressive, water-tight joint filler materials compatible with EIFS for use in all exterior envelope joint waterproofing.

#### A comprehensive, single-source, limited EIFS warranty inclusive of EIFS, the coated fiberglass mat faced gypsum sheathing (see 1.1.A.1), accessory materials, and sealant and/or expansion joint materials.

## RELATED REQUIREMENTS

              - [Note to Specifier: Delete any sections below not relevant to this project and add others as required.]

### 03 30 00	Cast-in-place Concrete

### 03 40 00	Pre-cast Concrete

### 04 20 00	Unit Masonry

### 05 40 00	Cold-formed Steel Framing

### 06 11 00	Wood Framing

### 06 11 00	Engineered Framing Systems

[Note to Specifier: Engineered framing system components such as parapet nailers and rough opening buck framing are available from Prebuck LLC, a division of Tremco CPG Inc. Coordinated specification of these items can be incorporated into the overall Tremco CPG limited warranty.]

### 06 16 00	Sheathing

[Note to Specifier: Coordinate for coated fiberglass mat gypsum sheathing with integral weather-resistive barrier and air barrier referenced in Section 2.2.B.1 as manufactured by Tremco Incorporated.]

### 07 27 00	Fluid-Applied Air Barriers

[Note to Specifier:   Coordinate with Section 06 16 56 as outlined above for coated fiberglass mat gypsum sheathing with integral weather-resistive barrier and air barrier referenced in Section 2.2.B.1 as manufactured by Tremco Incorporated.]

### 07 62 00	Sheet Metal Flashing and Trim

### 07 92 00	Joint Sealants

[Note to Specifier: Coordinate 07 92 00 with Section 2.2.C. Be advised that while sealants from other manufacturers are acceptable for use with the Outsulation Mineral Wool Securock ExoAir 430 System (in accordance with Dryvit document DS153), the Outsulation Mineral Wool Securock ExoAir 430 System Warranty will gain an additional 2-year extension when specifying Tremco sealant materials.]

### 08 40 00	Entrances, Store Fronts, and Curtain Walls

### 08 50 00 	Windows

## references

### American Society of Testing and Materials (ASTM)

#### ASTM C150 Standard Specification for Portland Cement

#### ASTM C297 Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions

#### ASTM C920 Standard Specification for Elastomeric Joint Sealants

#### ASTM C665 Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing

#### ASTM C1104 Standard Test Method for Determining the Water Vapor Sorption of Unfaced Mineral Fiber Insulation

#### ASTM C1177 Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing

#### ASTM C1305 Standard Test Method for Crack Bridging Ability of Liquid-Applied Waterproofing Membrane

#### ASTM C1382 Standard Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish Systems (EIFS) Joints

#### ASTM C1397 Standard Practice for Application of Class PB Exterior Insulation and Finish System (EIFS) and EIFS with Drainage

#### ASTM D968 Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive

#### ASTM D1784 Standard Specification for Rigid PVC and CPVC Compounds

#### ASTM D1970 Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

#### ASTM D2247 Standard Practice for Testing Water Resistance of Coatings in 100% Relative Humidity

#### ASTM D3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

#### ASTM D4060 Standard Test Method for Abrasion Resistance of Organic Coatings by the Taber Abraser

#### ASTM E72 Standard Methods of Conducting Strength Tests of Panels For Building Construction

#### ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials

#### ASTM E96 Standard Test Methods for Water Vapor Transmission of Materials

#### ASTM E119 Standard Method for Fire Tests of Building Construction and Materials

#### ASTM E283 Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls and Doors Under Specified Pressure Differences Across the Specimen

#### ASTM E330 Test Method for Structural Performance of Exterior Windows, Doors and Curtain Walls by Uniform Static Air Pressure Difference

#### ASTM E331 Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Uniform Static Air Pressure Difference

#### ASTM E2098 Test Method for Determining the Tensile Breaking Strength of Glass Fiber Reinforcing Mesh for use in Class PB Exterior Insulation and Finish Systems (EIFS), after Exposure to Sodium Hydroxide Solution

#### ASTM E2178 Standard Test Method for Air Permeance of Building Materials

#### ASTM E2273 Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies

#### ASTM E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

#### ASTM E2430 Standard Specification for Expanded Polystyrene (EPS) Thermal Insulation Boards for use in Exterior Insulation and Finish Systems (EIFS)

#### ASTM E2485 Standard Test Method for Freeze-Thaw Resistance of Exterior Insulation and Finish Systems (EIFS) and Water-Resistive Barrier Coatings

#### ASTM E2486 Standard Test Method for Impact Resistance of Class PB and PI Exterior Insulation and Finish Systems (EIFS)

#### ASTM E2568 Standard Specification for PB Exterior Insulation and Finish Systems

#### ASTM E2570 Standard Test Method for Evaluating Water-Resistive Barrier (WRB) Coatings Used Under Exterior Insulation and Finish Systems (EIFS) or EIFS with Drainage

#### ASTM G155 Standard Practice for Operating-Xenon Arc Light Apparatus for Exposure of Nonmetallic Materials

### National Fire Protection Association (NFPA)

#### NFPA 268 Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Source

#### NFPA 285 Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Non-Load Bearing Wall Assemblies Containing Combustible Components

### The American Association of Textile Chemists and Colorists

#### AATCC 127-08	Water Resistance: Hydrostatic Pressure Test

### Dryvit (Tremco CPG Inc.)

#### Outsulation Mineral Wool Securock ExoAir 430 Technical Data Sheet, DS1017

#### Outsulation Mineral Wool Securock ExoAir 430 Application Instructions, DS1018

#### Outsulation Mineral Wool Securock ExoAir 430 Standard Installation Details, DS1016

#### Expansion Joints & Sealants (Compatible with Dryvit), DS153

#### DryvitCARE™ EIFS Repair Procedures, DS498

#### Dryvit System Maintenance Guide, DS235

## ADMINISTRATIVE REQUIREMENTS

### Pre-Construction Meetings

[Note to Specifier: The Outsulation Mineral Wool Securock ExoAir 430 System Warranty requires a pre-construction meeting consisting of representatives from the Manufacturer, Applicator, Owner, and Consultant (if applicable) prior to the installation of the Products.]

#### The EIFS installer shall coordinate with the General Contractor to schedule, invite and administer a pre-construction meeting including but not limited to the architect of record, consultant(s), EIFS, sheathing board, accessory materials and sealant manufacturers’ representatives and the owner to assure required integration of products selected as specified herein and for proper sequencing and installation detailing.

### Coordination

#### Coordinate for related specification and integration of selected materials as referenced in Sections 2.2.B.1 and 2.2.C. herein.

### Sequencing

#### Provide jobsite grading prior to installation of EIFS so that the system may be terminated at least 6 in above grade [or as required by local code].

#### Coordinate installation of exterior sheathing, accessory materials, flashing, foundation waterproofing, roofing membrane, windows, doors, and other penetrations of the exterior walls to provide a continuous air and water-resistive barrier assembly.

#### Provide protection of rough openings before installing windows, doors, and other penetrations of the exterior walls.

#### Coordinate installation of windows and doors so air and water-resistive barrier membrane accessory materials, transitions, flashings, etc., are connected to them in a manner that provides a continuous barrier.

#### Install window and door head flashing immediately after windows and doors are installed.

#### Install diverter flashings wherever water can enter the wall assembly to direct water to the exterior.

#### Install copings and sealants immediately after installation of the EIFS with Drainage and when EIFS coatings are dry.

#### Attach penetrations through EIFS to structural support and provide water-tight seals at penetrations.

#### Coordinate with framing / sheathing trades for stud framing locations in relationship to mineral wool insulation layout and mechanical fastener locations. Vertical edge of mineral wool insulation boards shall not extend greater than 8” maximum from center line of mechanical fastener.

## ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS

### Submit product data as required by Section 01 33 00, Administrative Requirements.

### Submit shop drawings for panelized EIFS with Moisture Drainage showing wall layout, connections, details, expansion joints, and installation sequence.

### Submit two (2) samples of the EIFS with Drainage for each finish, texture, and color to be used on the project.  Use the same tools and techniques proposed for the actual installation.  Make the samples of sufficient size to accurately represent each color and texture being utilized on the project.

### Submit a current copy of the manufacturer’s Trained Contractor Certificate for the Outsulation Mineral Wool Securock ExoAir 430 System.

### Submit Owner/Architect-requested test results verifying the performance of the EIFS with Drainage.

### Submit a copy of the manufacturer’s installation details and application instructions.

## CLOSEOUT SUBMITTALS

### Submit a copy of the manufacturer’s recommended maintenance and repair manual, DryvitCARE™ EIFS Repair Procedures, DS498.

### Submit a copy of the EIFS with Drainage manufacturer’s comprehensive single source limited warranty.

## QUALITY ASSURANCE

[Note to Specifier: Delete any qualification below not relevant to this project such as [Panel Fabrication] and [Panel Erector]. Add others as required.]

### Manufacturer’s Qualifications

#### A member, in good standing, of the EIFS Industry Members Association (EIMA).

#### Manufacture EIFS with Drainage materials at a facility covered by current ISO 9001 and ISO 14001 certification.  Certification of the facility shall be done by a registrar accredited by the American National Standards Institute, Registrar Accreditation Board (ANSI-RAB).

### Contractor Qualifications

#### Knowledgeable in the proper installation of the EIFS with Drainage incorporating mineral wool insulation.

#### Possess a current copy of the manufacturer’s Trained Contractor Certificate for the Outsulation Mineral Wool Securock ExoAir 430 System.

#### Successfully complete a minimum of three (3) projects of similar scope and scale to the specified project.

### Insulation Board Manufacturer Qualifications

#### Listed by EIFS Manufacturer, and capable of producing the Mineral Wool in accordance with the current EIFS Manufacturer’s requirements.

#### Subscribe to the Dryvit Third Party Certification and Quality Assurance Program.

### [Panel Fabricator Qualifications]

#### Experienced and competent in the fabrication of architectural wall panels.

#### Possess a current Outsulation Mineral Wool Securock ExoAir 430 System Trained Contractor Certificate issued by Dryvit / Tremco CPG Inc.

### [Panel Erector Qualifications]

#### Experienced and competent in the installation of architectural wall panel EIF systems.

#### Shall be:

##### The panel fabricator or

##### An erector approved by the panel fabricator or

##### An erector under the direct supervision of the panel fabricator.

### Mock-Up

#### Provide the owner/architect with a mock-up for approval. Mock-up shall:

##### Be of suitable size as required to accurately represent the products being installed, as well as each color and texture to be utilized on the project.

##### Be prepared with the same products, tools, equipment and techniques required for the actual applications.  Use finish from the same batch that is being used on the project.

##### Include transitions representative of the Project’s design, including at least one window, penetration, cladding transition, or any other condition that will require coordination among various trades.

##### Be available and maintained at the jobsite.

### Regulatory Requirements

#### Comply with local building codes for the use and maximum thickness of Mineral Wool insulation board.

### Inspections

#### Cooperate with independent, third-party inspectors when required by code or by contract documents.

## DELIVERY, STORAGE AND HANDLING

### Deliver all EIFS with Drainage components and materials to the job site in the original, unopened packages with labels intact.

### Verify all EIFS with Drainage components and materials will be within shelf life in coordination with the Project’s construction schedule.

### Inspect all EIFS with Drainage components and materials upon arrival for physical damage, freezing or overheating. Do not use questionable materials.

### Store all EIFS with Drainage components and materials at the jobsite in a cool, dry location, out of direct sunlight, protected from weather and other sources of damage. Maintain minimum and maximum storage temperature as stated in the product data sheets or specifications for the materials selected.

#### Minimize exposure of materials to temperatures over 90 °F (32 °C).  Finishes exposed to temperatures over the published maximum storage temperature for even short periods may exhibit skinning and increased viscosity and should be inspected prior to use.  Refer to ROCKWOOL storage and handling requirements.

### Protect all products from inclement weather and direct sunlight.

## SITE CONDITIONS

### Ambient Conditions

#### Do not apply wet materials during inclement weather unless appropriate protection is provided. Protect materials from inclement weather until they are completely dry.

#### Verify the minimum air and wall surface temperatures at the time of application as stated in the product data sheets or specifications for the materials selected.

#### Maintain these temperatures with adequate air ventilation and circulation for a minimum of 24 hours (48 hours for specific Specialty Finishes) thereafter, or until the products are completely dry.

## WARRANTY

### Manufacturers’ Limited EIF System Warranty

#### The manufacturer shall offer a limited material defect and labor to repair or replace defective material warranty stating the Products will be free from manufacturing defect and will perform as warranted in the manner specified for the stated term measured from the Date of Project Substantial Completion.

##### A pre-construction meeting, including representatives of the Manufacturer, the Applicator, the Owner, and the Consultant (if applicable), shall be required prior to installation of the Products.

##### The warranty shall be available upon written request.

#### The EIFS warranty shall additionally include the following for the term of the warranty or as specifically noted hereunder.

##### The EIF system warranty term shall be 20 years.

##### The EIFS will remain in a watertight condition when the EIFS is used in conjunction with compatible Joinery and Sealants.

##### The EIFS will drain incidental moisture between the air/water-resistive barrier and the insulation board.

###### Remedy includes repair or replacement of any sheathing or framing member that is damaged because of the EIFS failing to drain incidental moisture between the secondary weather barrier and the insulation board.

##### Finish will be UV fade resistant for 10 years, except for specially produced colors.

###### Specially produced colors will be UV fade resistant for 5 years when high-performance colorants are used to formulate.

##### The EIFS shall be eligible to receive renewal of the original warranty if the Owner satisfactorily completes the specific renovation requirements published by the Manufacturer.

### Installer Warranty

#### EIFS Installer shall provide a separate minimum 1-year warranty for all workmanship related to the proper installation and drainage performance of the EIFS application.  The Manufacturer shall not be responsible for workmanship associated with the installation of EIFS with Drainage.

# PRODUCTS

## MANUFACTURERS

### Manufacturers

#### Dryvit, www.dryvit.com, (800) 556-7752.

##### 200 Frenchtown Road, North Kingstown, RI 02852

##### 354 South Acacia Street, Woodlake, CA 93286

##### 4827 Milgen Road, Columbus, GA 31907

##### 5850 South 116th West Ave., Sand Springs, OK 74063

#### Tremco CPG Inc., 3735 Green Road Beachwood, OH 44122, www.tremcocpg.com, (800) 321-7906.

#### ROCKWOOL, 8024 Esquesing Line, Milton, Ontario L9T 6W3, www.rockwool.com, (800) 265-6878.

#### EJOT Fastening Systems L.P., 48679 Akoga Druvem Syute 110, Wixcom, MI  48393, www.ejot.com, (248) 773-7453.

#### Wind-Lock Corporation, 1692 Leisczs Bridge Rd., Leesport, PA 19533, www.wind-lock.com, (800) 872-5625.

### Substitution Limitations

#### All components of the Outsulation Mineral Wool Securock ExoAir 430 System, including the insulation board, shall be supplied or obtained from Dryvit (Tremco CPG Inc.) or an authorized distributor.  Substitutions or additions of materials manufactured or supplied by others will void the EIFS warranty.

#### Alternate EIFS manufacturers must demonstrate equivalencies for all elements of EIFS such as but not limited to

##### Material component performance, compatibility and testing

##### Standard and specialty finishes

##### Color and texture matching

##### Warranty criteria as specified herein.

#### Submit alternate EIFS manufacturer’s complete data highlighting equivalency for review through Substitution Requirements as defined in Division 1.

## DESCRIPTION

### System Description

#### The Basis of Design shall be the Dryvit Outsulation Mineral Wool Securock ExoAir 430 System. This is an Exterior Insulation and Finish System (EIFS) with Drainage, consisting of

##### A coated fiberglass mat gypsum sheathing with an integral air and water-resistive barrier

##### Accessory Materials

##### Adhesive – installed in vertical ribbons to facilitate egress of incidental moisture

##### Approved mineral wool continuous insulation (ROCKWOOL® Frontrock®).

##### Base Coat

##### Reinforcing Mesh

##### Finish Coat

##### Joint Sealants as specified herein.

### Materials

#### A coated fiberglass mat gypsum sheathing with an integral air and water resistive barrier

##### Shall be Securock ExoAir 430 panel as manufactured by USG Corporation

#### Accessory Materials

[Note to Specifier: Compatibility notes are provided below for ease of specification editing. Delete irrelevant materials. Delete notes upon completion of editing.]

##### Provide compatible accessory materials as required by project conditions for treating sheathing board joints, fastener heads, penetrations, rough openings, material transitions and flashing integration to produce a complete air barrier assembly.

###### Basis of Design:  Dymonic® 100 – A high-performance, high-movement, single-component, medium-modulus, low-VOC, UV-stable, non-sag polyurethane sealant as manufactured by Tremco CPG Inc.

Where Dymonic 100 must be applied in temperatures below 40°F (4°C), refer to the Tremco Technical Bulletin for Applying Sealants in Cold Conditions (No. S-08-44 rev 1) that can be found at www.tremcosealants.com.

###### Tremco ExoAir® DualFlash: A gun and roller-grade liquid-applied flashing membrane. Used in substrate preparation, treating sheathing board joints and inside/outside corners, sheathing fastener heads, preparing rough openings and penetrations, material transitions, flashing integration, and roof tie-ins. ExoAir DualFlash skins and cures quickly, allowing for expedited construction timelines.  ExoAir DualFlash can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising.

###### Tremco ExoAir® 110AT: An 18-mil composite, impermeable membrane that is comprised of 12 mils of butyl and 6 mills of HDPP facer.  Used in limited applications as a membrane flashing that will not interfere with the adhesive application of EIFS.

###### ExoAir® 230 – A fluid-applied, synthetic, vapor-permeable air barrier designed for use in commercial construction applications.

#### Adhesives

##### Liquid polymer-based adhesive field mixed with Portland cement.

###### Dryvit Genesis®

Shall be applied to the back of the insulation board in vertical notch trowel patter to create a drainage plane.

Allow vertical ribbons of adhesive to sufficiently dry/harden to resist flattening, disruption of bond and drainage cavities behind the mineral wool insulation boards formation prior to installation of mechanical fasteners.

#### Insulation Board

[Note to Specifier & Designer: ROCKWOOL Frontrock mineral wool insulation board is available in mono density and dual density.  Dual density has a higher density facing developed to better facilitate mechanical fastening and planar tolerance.  Select the mineral wool board option – [Mono] or [Dual] Density – below, thickness desired, and delete remaining options.  Edit listing below to reference specific product of choice for this project.]

##### Shall be ROCKWOOL Frontrock – Refer to ROCKWOOL literature for additional performance criteria.

###### [Frontrock Mono Density]:  8.5 lbs/ft3 (136 kg/m3)

Thickness shall be [1.5” (38.1 mm)], [2” (50.8 mm)], [2.5” (63.5 mm)], [3” (76.2 mm)], [4” (101.6)], [5” (127 mm)], [6” (152.4 mm)], [as indicated on Drawings], 2 ft x 4 ft (609.6 mm x 1219.2 mm) maximum size.

###### [Frontrock Dual Density]:  9.3 lbs/ft3 (150 kg/m3) outer layer and 5.9 lbs/ft3 (95 kg/m3) inner layer

Thickness shall be [2.5” (63.5 mm)], [3” (76.2 mm)], [3.5” (88.9 mm)] [4” (101.6 mm)], [as indicated on Drawings], 2 ft x 4 ft (609.6 mm x 1219.2 mm) maximum size.  Note:  Reference Table 1 for Wind Load Data

##### ROCKWOOL Frontrock material compliance and testing requirements:

###### Comply with ASTM C612, Type IVA

###### R-Value:  R-4.0 / inch at 75o F (RSI – 0.705) in accordance with ASTM C518.

###### Compressive Strength: Minimum 522 lbs/ft3 (25 kPa) at 10% compression in accordance with ASTM C165.

###### Non-Combustible:  Classified non-combustible in accordance with ASTM E136.

###### Surface Burning Characteristics:  flame spread index = 0, smoke development index ≤ 15 in accordance with ASTM E84.

###### Vapor Permeability:  Minimum 38 perm (2187 ng/Pa.s.m2) in accordance with ASTM C665.

###### Fungi Resistance:  Zero (0) mod growth in accordance with ASTM C1338.

###### Linear Shrinkage:  Not exceed 0.51% at 1200oF in accordance with ASTM C356.

##### Material Ingredient Disclosure:  Insulation board shall provide the following:

###### Health Product Declaration (HDP).

###### LFI Declare Red List approval label.

#### Pre-Coated Mineral Wool Insulation Drainage Starter Boards and Edge Trim:

[Note to Specifier & Designer: Pre-Coated Mineral Wool Insulation Drainage Starter Boards are required for all horizontal edge terminations.  Edge Trims are recommended.  Both provide for properly back wrapped EIF System termination edges typically scheduled to drain where horizontal and receive primers and sealants.  Starter Boards and Edge Trims must be produced with Dryvit materials to be covered under the EIF System Warranty.  Non-Machine Pre-Coated are produced and supplied by the installing contractor in accordance with Dryvit details, application instructions and contract documents.]

##### [Non-Machine Pre-Coated Starter Boards and Edge Trims]: Shall be produced with ROCKWOOL Frontrock and the remaining materials manufactured by Dryvit / Tremco CPG Inc. supplied by EIF System installing contractor and integrated in accordance with Outsulation Mineral Wool Securock ExoAir 430 System Details DS1016.

#### Mechanical Fasteners:

[Note to Specifier: Mechanical Attachment of the Outsulation Mineral Wool Securock ExoAir 430 System is required.  Surface and Countersunk (subsurface) options are available.  Countersunk washer plate attachment can reduce potential for thermal bridging based upon fastening method (see Section 6.b.) and visual ghosting of fastening pattern across the EIF System surface.  Selections for Screw Fastener and Washer Plate combinations and Fastening Pattern shall be based on underlying wall assembly / substrate type and tested negative wind load results referenced in Table 1 below.  Determine project specific wind load resistance requirements.  Select [Screw Fastener] type, [Washer Plate] type and [Fastening Pattern] in coordination with Mineral Wool Insulation Type and Thickness based on tested negative wind load values in Table 1 below.  Delete remaining items.]

##### Screw Fastener:  Shall be corrosion resistant screw fastener as manufactured by EJOT Fastening Systems L.P. or Wind-Lock Corporation.  Select screw fastener type and coordinate for length and penetration into wall assembly / substrate based on specific project requirements.  Combine with Washer Plate type as required or indicated.  Consult manufacturer’s technical services as needed.

###### [Steel Framing]:  Shall be EJOT TKR-4-4.8 or Wind-Lock ST series with minimum #8 corrosion resistant screw.  Provide no less than 3/8” fastener penetration into framing member with at least 3 threads exposed on the back-side of the structural member.

###### [Wood Framing]:  Shall be EJOT Jt2-ST2-6.0 or Wind-Lock WLMS series with minimum #8 corrosion resistant screw.  Provide no less than 3/4” fastener penetration into framing member.

##### Washer Plate:  Shall be glass reinforced plastic washer plate as manufactured by EJOT Fastening Systems L.P. or Wind-Devil 2 plate as manufactured by Wind-Lock Corporation.  Select washer plate type and coordinate for surface flush or countersunk application based on specific project requirements.  Combine with Screw Fastener as required or indicated.  Consult with manufacturer’s technical services as needed.

###### [Surface Flush Washer]:

[Steel or Wood Framing]:  Shall be [EJOT SBH-T 2G Washer.  Fastening Pattern shall be [min. 6 (six)] fasteners per 2 ft x 4 ft insulation board.]  [Wind-Lock Wind-Devil 2 Washer.  Fastening Patter shall be 9 (nine) fasteners per 2 ft x 4 ft insulation board.].

###### [Countersunk Washer]:  Shall require minimum 3.0” (76.2 mm) thick mineral wool board. Install with STR Tool 2GE countersunk setting too.

[Steel or Wood Framing]:  Shall be [EJOT STR-H Washer for [steel] [wood] framing with Ejotherm STR mineral wool plug.  Fastening Pattern shall be [6 (six)] fasteners per 2 ft x 4 ft insulation board.]

##### Mechanical screw fasteners and washer plate combinations shall be installed into insulation board after the vertical notched trowel adhesive is fully cured. Mechanical Fasteners may be initially installed to support the insulation board while the adhesive cures and then permanently installed. DO NOT BACK-OUT, REMOVE AND/OR RELOCATE FASTENERS leaving open penetrations through the underlying air/water-resistive barrier / substrate.

| Table 1 - Fastener Requirement per Mineral Wool Type, Thickness and Fastener Pattern |  |  |  |
| --- | --- | --- | --- |
| Mineral Wool Type | Minimum Mineral Wool Thickness | Fastener & Washer Plate | Fasteners per 2’ x 4’ Board |
| Dual Density (DD) | 2.5” | EJOT DABO Screw TKR-4-4.8 / EJOT Washer SBH-T 2G 60/25 | 6 or 9 |
| Mono Density (MD) | 1.5” |  |  |
| Dual Density (DD) | 2.5” | Min. #8 corrosion-resistant steel screws with Wind-Lock Wind-Devil 2 washer plate | 9 |
| Mono Density (MD) | 1.5” |  |  |
| Notes: - Refer to the applicable ESR for tested wind load assemblies. - Design Professional of Record shall be solely responsible for interpretation and structural design based on specific project requirements. - Mineral Wool Insulation installation includes both primary Mechanical Attachment and supplemental vertical notch trowel Adhesive. - Countersunk Fasteners require a minimum insulation board thickness of 3-inches. - Contact Dryvit Engineering for additional information to wind resistance when project wind pressures exceed published values. |  |  |  |

#### Base Coat

##### Liquid polymer-based base coat field mixed with Portland cement.

###### Dryvit Genesis® (pail mix) – substitutions of other products shall be prohibited.

#### Reinforcing Mesh

[Note to Specifier: Reinforcing meshes are classified by impact resistance and specified by weight and tensile strength. Please refer to the table below and/or confer with your manufacturer’s representative to assure specification of mesh appropriate for the anticipated use of your project.]

##### Open-weave, glass fiber fabric treated for compatibility with other EIFS materials.

##### Standard Plus Mesh shall be required for all EIFS field wall areas throughout. Additionally, incorporate as second layer over Dryvit Panzer Mesh for all Ultra High Impact Mesh Assemblies as required or where indicated on contract drawings.

###### Mesh used for back-wrapped terminations, edge-wrapped terminations, splicing Starter Boards, splicing Architectural Shapes, etc. may utilize Dryvit Detail Mesh.

[Note to Specifier: It is imperative to specify impact resistance level and location within the contract documents. The information below represents both industry standard and Dryvit minimum recommendations. It is advantageous to delineate locations of higher weight meshes on the Architectural drawings.]

##### Provide for ultra-high impact mesh assembly using Dryvit Panzer [15, 20] mesh for all EIFS clad wall areas within 8 ft 0 in of finished grade and where additionally indicated on contract drawings. Panzer Mesh shall be used in conjunction with Standard Plus Mesh.

| Reinforcing Mesh1/Weight oz/yd² (g/m²) | Minimum Tensile Strengths | EIMA Impact Classification | EIMA Impact Range in-lbs (Joules) |  | Impact Test Results in-lbs (Joules) |  |
| --- | --- | --- | --- | --- | --- | --- |
| Standard Plus - 6 (203) | 200 lbs/in (36 g/cm) | Medium | 50-89 | (6-10) | 56 | (6) |
| Intermediate™ - 12 (407) | 300 lbs/in (54 g/cm) | High | 90-150 | (10-17) | 108 | (12) |
| Panzerâ 152 - 15 (509) | 400 lbs/in (71 g/cm) | Ultra-High | >150 | (>17) | 162 | (18) |
| Panzer 202 - 20.5 (695) | 550 lbs/in (98 g/cm) | Ultra-High | >150 | (>17) | 352 | (40) |
| Detail Meshâ Short Rolls - 4.3 (146) | 150 lbs/in (27 g/cm) | n/a | n/a | n/a | n/a | n/a |
| Corner Mesh™ - 9.0 (305) | 274 lbs/in (49 g/cm) | n/a | n/a | n/a | n/a | n/a |
| 1. It shall be colored blue and bear the Dryvit logo for product identification 2. Shall be used in conjunction with Standard Mesh (recommended for areas exposed to high traffic) |  |  |  |  |  |  |

#### Mesh Corner Bead Accessory

##### Incorporate combined PVC corner and alkaline-resistant fiberglass mesh corner bead as an alternative to double wrapping primary outside corners. 2209MESH as manufactured by Plastic Components, Inc., www.plasticomponents.com, (800) 327-7077. Install in accordance with manufacturer’s application instructions.

#### Standard Finish

##### Water-based, acrylic coating with integral color and texture; formulated with Dirt Pickup Resistant (DPR) chemistry.

###### Quarzputz® DPR – open texture

###### Sandblast® DPR – medium texture

###### Freestyle® DPR – fine texture

###### Sandpebble® DPR – pebble texture

###### Sandpebble® Fine – fine pebble texture

###### Mojave DPR™ – medium to medium-large texture

##### Hydrophobic (HDP™) Finishes: 100% acrylic coating with integral color and texture and formulated with hydrophobic properties.

###### Quarzputz® HDP

###### Sandblast® HDP

###### Sandpebble® HDP

###### Sandpebble® Fine HDP

###### Lymestone™ HDP

##### Lightweight, water-based acrylic coating with integral color and texture; formulated with Dirt Pickup Resistance (DPR) chemistry.

###### Quarzputz® E

###### Sandpebble® E

###### Sandpebble Fine® E

#### Specialty Finishes and Veneers

##### Ameristone™ – multi-colored quartz aggregates with a flamed granite appearance.

##### Stone Mist® – colored, ceramic-coated quartz aggregates.

##### Custom Brick™ – acrylic polymer-based finish used in conjunction with a proprietary template system to create the look of stone, brick, slate, or tile.

##### TerraNeo® – acrylic-based finish with large mica chips and multi-colored quartz aggregates.

##### Lymestone™ – premixed, acrylic-based finish designed to replicate the appearance of limestone blocks.

##### Finesse™ – a fine or smooth 100% acrylic-based dirt pickup resistance finish.

##### Tibur Stone™ – 100% acrylic-based finish with the appearance of Travertine Stone.

##### Woodgrain – A 100% acrylic-based finish created with a textured finish, a coating, a graining tool and a sealer providing an authentic woodgrain appearance.

#### Elastomeric, water-based acrylic coating with integral color and texture; formulated with Dirt Pickup Resistance (DPR) chemistry

##### Weatherlastic® Quarzputz

##### Weatherlastic® Sandpebble

##### Weatherlastic® Sandpebble Fine

##### Weatherlastic® Adobe

#### Mildew-resistant, water-based, acrylic coating with integral color and texture; formulated with Proven Mildew Resistance (PMR™) chemistry

##### Quarzputz® PMR

##### Quarzputz® E PMR

##### Sandblast® PMR

##### Freestyle® PMR

##### Sandpebble® PMR

##### Sandpebble® E PMR

##### Sandpebble® Fine PMR

##### Sandpebble® Fine E PMR

#### Coatings, Primers, and Sealers (to be specified independently of a finish, not as a replacement)

##### Demandit® Smooth

##### Demandit® Sanded

##### Demandit® Advantage™

##### HDP Water-Repellent Coating

##### Weatherlastic® Smooth

##### Tuscan Glaze™

##### Color Prime™

##### Color Prime™ W

##### Primer with Sand™

##### Prymit®

##### SealClear™

### Joint Sealants

[Note to Specifier: Coordinate this section with Section 1.10 herein. Refer to Expansion Joints & Sealants (Compatible with Dryvit), DS153, for additional sealant options.]

#### Silicone Sealants

##### Tremco Spectrem® 1: An ultra-low modulus, high-performance, one-part, moisture-curing silicone joint sealant with physical properties making it an ideal sealant for sealing dynamic joints.

##### Tremco Spectrem® 3: A general-purpose, low-modulus, high performance, one-part, neutral-cure, non-staining, low dirt pickup, construction-grade silicone sealant.

##### Tremco Spectrem® 4-TS: A multi-component, neutral-curing, non-staining, low dirt pickup, low-modulus silicone sealant specially formulated for use in dynamically moving building joints.  Spectrem 4-TS offers color flexibility with the opportunity to tint the material on site.

###### Coordination for custom sealant colors is required.

#### Polyurethane Sealant

##### Tremco Dymeric® 240FC: A multi-component, chemically curing polyurethane sealant that comes as a kit with a tintable base, curative packet, and a choice of 70 standard colors.

#### Hybrid Polyurethane Sealant

##### Tremco Dymonic® FC: A single-component, low-modulus, hybrid polyurethane sealant.

#### Sealant Primer

##### TREMprime™ Silicone Porous Primer (for porous surfaces), required when using Spectrem® 1, Spectrem® 3, Spectrem® 4-TS, or Dymonic® FC.

##### TREMprime™ Non-Porous Primer (for metals or plastics), required when using Spectrem® 1, Spectrem® 3, Spectrem® 4-TS, or Dymonic® FC.

##### Vulkem® Primer #171 (for porous surfaces), required when using Dymeric 240FC.

### Jobsite-Mixed Materials

#### Portland cement – verify is Type I, II, or IL, meeting ASTM C150, white or gray in color, fresh and free of lumps.

#### Water – verify is clean and free of foreign matter.

# EXECUTION

## EXAMINATION

### Verification of Conditions

#### Ensure that the site, material, and environmental conditions comply with relevant provisions of ASTM C 1397 “Standard Practice for Application of Class PB Exterior Insulation and Finish Systems”.

#### Verify access to electric power, clean water and a clean work area at the location where the Dryvit materials are to be applied.

#### Verify the deflection of the substrate does not exceed 1/240 times the span.

#### Verify substrate is flat within 1/4 in (6.4 mm) in a 4 ft (1.2 m) radius.

#### Verify substrate is sound, dry, connections are tight and has no surface voids, projections, or other conditions that may interfere with the EIFS with Drainage installation or performance.

#### Verify the slope of inclined surfaces are not less than 6:12 (27°) where the length of the slope does not exceed 12 in (305 mm) or 3:12 (14°) where the length of the slope does not exceed 4 in (102 mm).

#### Verify metal roof flashings have been installed in accordance with Sheet Metal and Air Conditioning Contractors National Association (SMACNA) standards.

#### Verify all rough openings are flashed in accordance with the EIFS with Drainage manufacturer’s installation details, or as otherwise necessary to prevent water penetration. Verify chimneys, balconies and decks have been properly flashed as necessary to prevent water penetration.

#### Verify windows and doors are installed and flashed per manufacturer's requirements and installation details.

#### Notify the general contractor of all discrepancies prior to the installation of the EIFS with Drainage.

[Note to Specifier: Design and location of expansion joints in the Exterior Insulation and Finish System with Moisture Drainage is the responsibility of the project designer and as designated on contract drawings.]

#### Verify that expansion joints are installed

##### Where expansion joints occur in the substrate system

##### Where building expansion joints occur

##### At floor lines in wood frame construction

##### At floor lines of non-wood framed buildings where significant movement is expected

##### Where the EIFS abuts dissimilar materials

##### Where the substrate type changes

##### Where prefabricated panels abut one another

##### In continuous elevations at intervals not exceeding 30 ft (9.14 m)

##### Where significant structural movement occurs, such as changes in roof line, building shape or structural system.

#### Vapor Retarders: The use and location of vapor retarders within a wall assembly shall be the responsibility of the project designer and shall comply with local building code requirements.  The type and location shall be noted on the project drawings and specifications.  Vapor retarders may be inappropriate in certain climates and can result in condensation within the wall assembly. EIFS installer shall not deviate from what is depicted in the contract drawings.

## PREPARATION

### Protect the EIFS with Drainage materials from inclement weather and other sources of damage prior to, during, and following application until completely dry.

### Protect adjoining work and property during installation of the EIFS with Drainage.

### Prepare the substrate to be free of foreign materials, such as oil, dust, dirt, form-release agents, efflorescence, paint, wax, water repellants, moisture, frost, and any other condition that may inhibit adhesion.

## INSTALLATION

### Install the EIFS in accordance with ASTM C1397 and the Dryvit Outsulation Mineral Wool Securock ExoAir 430 System Application Instructions, DS1018.

### Install mineral wool insulation to properly prepared substrate with vertical notch trowel adhesive method to  the back of the insulation board. Ensure that the insulation board joints are butted tight, and faces / edges are level and flush. Ensure dual density mineral wool boards are installed with correct side facing out - ROCKWOOL branding showing. Allow adhesive to dry in advance of installation of mechanical fasteners. Install mechanical fasteners in type as required and fastening pattern as specified. Pre-spot all washer locations with base coat.

### Where insulation board joint edges cannot be leveled flush by other means, apply base coat as necessary to fill in and level out with adjacent insulation board surface and allow base coat to dry. Apply base coat as a skim coat to level the undulating face of insulation board and allow to dry.

### Apply base coat in sufficient thickness to fully embed the reinforcing mesh (Standard Plus (6oz/yd2) or greater) and allow to dry. Apply a second base coat layer as required to provide a well prepared and level surface for application of selected texture finish coat.

### Install high impact reinforcing mesh as specified at ground level, high traffic areas and other areas exposed to or susceptible to impact damage as designated on the contract drawings.

### Install Machine Coated Dryvit EPS Shapes in accordance with Dryvit Publication Architectural Shapes Application Instructions, DS1038.

### Apply sealant to base coat surface prepared in accordance with Expansion Joints & Sealants (Compatible with Dryvit), DS153.

## SITE QUALITY CONTROL

### Exterior Insulation and Finish System with Moisture Drainage manufacturer assumes no responsibility for on-site inspections or application of its products.

### Insulation board supplier, if requested, shall certify in writing that the insulation board meets the EIFS with Drainage manufacturer’s specifications.

### The sealant contractor, if requested, shall certify in writing that the sealant application is in accordance with the sealant manufacturer's and the EIFS with Drainage manufacturer’s recommendations.

## CLEANING

### Remove all excess EIFS with Drainage materials from the job site in accordance with contract provisions and as required by applicable law.

### Leave all surrounding areas, where the EIFS with Drainage has been applied, free of debris and foreign substances resulting from the EIFS sub-contractor’s work.