DS1072

METALITE® FC RAINSCREEN PANEL SYSTEM

A Prefinished, Prefabricated Single-Skin Aluminum Panel Rainscreen System

SPECIFICATION 07 46 16

Tremco CPG Inc.

3735 Green Road

Beachwood, OH 44122

INTRODUCTION

This manufacturer’s guide specification is intended for use by design and construction professionals in the development of project specifications.  By referring to the manufacturer’s “Notes to Specifier” in parentheses and bolded, the specifier may easily select the portions of the comprehensive guide specification which are pertinent to the project.  “Notes to Specifier” should then be deleted from the final specification document.  This guide specification follows the Construction Specification Institute’s MasterFormat and SectionFormat protocols.

It is prudent to place certain parts of the Dryvit FC Rainscreen System Specification in other parts of the project’s total specification, such as sheathing, air and water-resistive barrier membrane, accessory materials, sealants and framing, as applicable.  The project design professional is responsible for verifying that project specifications are suitable for any project.  For assistance in preparing your specifications, please contact your Dryvit Distributor, your local Dryvit Technical Sales Representative, or Dryvit Technical Services.

WARNING

The FC Rainscreen System is defined as a single-skin aluminum panel cladding rainscreen system. The rainscreen system is intended to provide positive drainage and ventilation of the exterior cavity of the wall assembly as moisture penetrates the panel system and reaches the drainage plane.  A tested and approved air and water-resistive barrier must be installed over the exterior substrate to prevent water intrusion to the interior wall cavity or other interior building components.  Care should be taken to ensure that all building envelope elements, such as roofing, windows, flashings, sealants, etc., are compatible with the Metalite FC Rainscreen System.

The FC Rainscreen System is a prefabricated panel system of numerous compatible components such as roll-formed aluminum panels, click rails, and other accessories, including an approved air- and water-resistive barrier.

DISCLAIMER

It is the responsibility of both the specifier and the purchaser to determine if a product is suitable for its intended use.  The designer selected by the purchaser is responsible for all decisions pertaining to design, detail, structural capability, attachment, shop drawings, etc.  The single-skin aluminum panel system Manufacturer has prepared guidelines in the form of specifications, installation details, application instructions and product data sheets to facilitate the design process only.  The Manufacturer is not liable for any errors or omissions in design, detailing, structural capability, attachment, project-specific shop drawings, or the like, whether based upon the information prepared by the Manufacturer or otherwise, or for any changes which purchasers, specifiers, designers, or their appointed representatives may make to the Manufacturer’s published information.

The information contained in this specification conforms to standard detail and product recommendations for the installation of the Dryvit FC Rainscreen System as of the date of publication of this document and is presented in good faith.  Tremco CPG Inc. (Dryvit) assumes no liability, expressed or implied, as to the architecture, engineering or construction of any project.  To ensure that you are using the latest, most complete information, contact your local Dryvit Technical Sales Representative, visit our website at https://www.dryvit.com/or contact Dryvit Engineering at:

Tremco CPG Inc.

3735 Green Road, Beachwood, OH 44122

(800) 556-7752

TABLE OF CONTENTS

PART 1	GENERAL	3

1.1	SUMMARY	3

1.2	RELATED REQUIREMENTS	3

1.3	REFERENCES	3

1.4	ADMINISTRATIVE REQUIREMENTS	4

1.5	SUBMITTALS	4

1.6	QUALITY ASSURANCE	5

1.7	DELIVERY, STORAGE, AND HANDLING	5

1.8	WARRANTY	6

PART 2	PRODUCTS	7

2.1	MANUFACTURERS	7

2.2	DESCRIPTION	7

2.3	FABRICATION	9

2.4	FINISH	10

PART 3	EXECUTION	11

3.1	EXAMINATION	11

3.2	INSTALLATION	11

3.3	CLEANING	11

3.4	PROTECTION	11

# GENERAL

## SUMMARY

### Provide a prefinished single-skin aluminum panel system that includes the following:

#### Prefinished, prefabricated concealed fastener vertical wall system which includes:

##### Roll-formed aluminum panels fabricated to a variety of different profile widths and lengths.

##### Installation accessories including aluminum click rails, guidance snappers, and fixed point holders.

##### Coordinated inside corner, outside corner, sill, header, jamb, lap and base flashings.

##### Extrusions, fasteners, and closures as necessary to meet design criteria and ensure complete installation

## RELATED REQUIREMENTS

              - [Note to Specifier: Delete any sections below not relevant to this project and add others as required.]

### 03 30 00	Cast-in-place Concrete

### 03 40 00	Pre-cast Concrete

### 04 20 00	Unit Masonry

### 05 40 00	Cold-formed Steel Framing

### 05 50 00	Metal Fabrications

### 06 11 00	Wood Framing

### 06 11 00	Engineered Framing Systems

[Note to Specifier: Engineered framing system components such as parapet nailers and rough opening buck framing are available from Prebuck LLC, a division of Tremco CPG Inc. Coordinated specification of these items can be incorporated into the overall Tremco CPG limited warranty.]

### 06 16 00	Sheathing

### 07 27 00	Fluid-Applied Air Barriers

[Note to Specifier: This specification contains options for the fluid-applied air/water-resistive barrier system and accessory materials that are approved for use behind the Metalite FC Rainscreen System. Coordinate with Section 07 27 00 as required where an air/water-resistive barrier system is selected for use as outlined below in Section 2.2.B.]

### 07 62 00	Sheet Metal Flashing and Trim

### 07 92 00	Joint Sealants

### 08 40 00	Entrances, Store Fronts, and Curtain Walls

### 08 50 00 	Windows

## references

### Aluminum Association

#### 2020 Aluminum Design Guide

### American Society of Civil Engineers (ASCE)

#### ASCE-7 Minimum Design Lods for Buildings and Other Structures

### American Society of Testing and Materials (ASTM)

#### ASTM B209 Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate

### Underwriters Laboratories of Canada

#### CAN/ULC – S134-13 Rev2 Standard Method of Fire Test of Exterior Wall Assemblies

## ADMINISTRATIVE REQUIREMENTS

### Pre-Construction Meetings

[Note to Specifier: The FC Rainscreen System Warranty requires a pre-construction meeting consisting of representatives from the Manufacturer, Applicator, Owner, and Consultant (if applicable) prior to the installation of the Products.]

#### Conduct pre-installation meeting to verify project requirements, substrate conditions, and manufacturer’s installation instructions.

## SUBMITTALS

### GENERAL: Submit listed submittals in accordance with Conditions of the Contract and Division 1 Submittal Procedures Section.

### PRODUCT DATA: Submit manufacturer’s specifications, standard details, and installation manual.

### SHOP DRAWINGS:

#### Show wall panel system with flashings and accessories in elevation; sections and details. Include metal thicknesses and finishes, panel lengths, joining details, anchorage details, flashings and special fabrication provisions for termination and penetrations.  Indicate relationships with adjacent and interfacing work.

#### Do not proceed with manufacture of wall materials prior to review of shop drawings and field verification of all dimensions.

### SAMPLES:

#### Submit sample of panel section, 12" long x full width panel, showing proposed metal thickness, finish and profile.

### TEST REPORTS:

#### Submit copies of design test reports for each of the performance testing standards listed in Section 1.3 of this specification.

#### Test reports shall be performed by an independent, accredited testing laboratory, and shall bear the seal of a registered professional engineer.

### CALCULATIONS:

#### Submit engineering calculations defining cladding loads for all wall areas based on design criteria listed in section 2.2 of this specification

#### Calculation shall clearly indicate clip type, spacing of clips by zones, and fastener requirements.

#### Calculate pullout, pullover, and shear strength of fasteners in accordance with test data published by the fastener manufacturer, utilizing applicable material safety factors.

### WARRANTY:

#### Provide unexecuted specimen warranty documents as required in section 1.8.

### CERTIFICATION:

#### Submit manufacturer’s certification that materials and finishes meet specification requirements.

#### Submit applicator’s certification that installer of products meets specified qualifications Submit product data as required by Section 01 33 00, Administrative Requirements.

## QUALITY ASSURANCE

### MANUFACTURER’S QUALIFICATIONS:

#### Panel manufacturers must provide full supporting literature, flashing and details guides, Guide Specifications, and technical support.

### INSTALLER QUALIFICATIONS:

#### Installer must have experience with at least 10 similar sized aluminum panel system projects in the past five (5) years.

#### Installer must be an approved installer, certified by the manufacturer prior to beginning installation of the wall.

### PRODUCT SUBSTITUTION:

#### Products listed in this specification section are as manufactured by Tremco CPG, Inc.

#### Alternate wall panels will only be accepted with prior written approval of Architect.

#### Substitution requests must be submitted in writing minimum ten days prior to bid date accompanied by product literature, technical information, and product sample. Approved substitutions will be set forth in an addendum.

#### No substitutions will be permitted after bid date.

## DELIVERY, STORAGE, AND HANDLING

### DELIVERY:

#### Deliver metal wall system to jobsite properly packaged to provide protection against transportation damage

### HANDLING:

#### Exercise extreme care in unloading, storing, and erecting metal wall system to prevent bending, warping, twisting, and surface damage.

### STORAGE AND PROTECTION:

#### store sheet bundles above ground with one end elevated and allow for air circulation and drainage.

#### Store sheet bundles under tarpaulin cover to protect from rain and prevent accumulation of dirt and condensation.

#### Prolonged storage of bundled sheets is not recommended.

#### ALWAYS avoid direct contact with alkali-bearing material such as lime-based cement, concrete/mortar.

## WARRANTY

### Project Warranty: Refer to Conditions of the Contract for project specific warranty provisions.

### Furnish Manufacturer’s standard 20-year warranty stating panel material will not fail due to:

#### Corrosion

#### Rupture

#### Perforation

### Air/Water-Resistive Barrier Warranty:

##### [Note to Specifier: When the MCM panel system is installed over a Tremco CPG Inc. air/water-resistive barrier (AWRB), the selected AWRB warranty can be extended as follows:

##### [10-years] when Metalite FC Rainscreen is installed over ExoAir 110AT or 210AT adhered air/water-resistive barrier membrane system. Coordinate with related Section 07 27 00.

##### [15-years] when Metalite FC Rainscreen is installed over ExoAir 130 or 230 as the air/water-resistive barrier membrane system. Coordinate with related Section 07 27 00.

##### [20-years] when Metalite FC Rainscreen is installed over Securock ExoAir 430 gypsum sheathing with factory fluid applied air/water-resistive barrier membrane system. Coordinate with related Section 06 16 00 and 07 27 00.

### Installer’s Warranty: In a form acceptable to the Owner, Installer agrees to repair or replace metal wall panel assemblies that fail in materials and workmanship within two (2) years from date of Substantial Completion.

# PRODUCTS

## MANUFACTURERS

### Tremco CPG Inc. (Dryvit), 3735 Green Road Beachwood, OH 44122, www.tremcocpg.com, www.dryvit.com, (800) 556-7752.

### SUBSTITUTIONS:

#### Substitutions must fully comply with specified requirements.

#### Refer to specification Section 01630 - Product Options and Substitutions for substitution request procedures.

## DESCRIPTION

### SYSTEM DESCRIPTION

#### DESIGN REQUIREMENTS:

##### Design criteria shall be in accordance with current edition of the locally adopted Building Code.

##### Wall Loads:

###### Wall loads shall be as shown on the contract drawings or calculated per Building Code components/cladding criteria.  The largest inward/outward pressures (contract drawing specified or Building Code calculated) shall govern.

##### Thermal Loads:

###### Wall panels shall be free to expand/contract resulting from a total temperature differential of 150 degrees F.

##### Deflection:

###### Wall panels shall withstand test pressures of inward and outward wind-load design pressures with maximum deflection of L/120 of the span.

#### STRUCTURAL REQUIREMENTS:

##### Panel structural properties are to be determined in accordance with latest edition of Aluminum Association’s “2020 Aluminum Design Manual- Specifications and Guidelines for Aluminum Structures”.

##### Metal wall system must be tested to verify load capacity with one of the following standards:

###### Zullasung product approval Z-14.1-581

### MATERIALS

#### PANELS:

##### Aluminum alloy sheet, ASTM B209, aluminum alloy 3005 or 3004 in accord with manufacturer’s standard to suit forming operations and finish specified thickness: 0.039”, 0.047”, or 0.058”

##### Fabricated flush/flat concealed fastener vertical panel system with individual panel replacement capability

##### Panels shall be of the following sizes:

###### 9.84” (250mm) wide x 1.18” (30mm) deep

###### 11.81” (300mm) wide x 1.18” (30mm) deep

###### 13.78” (350mm) wide x 1.18”(30mm) deep

###### 15.75” (400mm) wide x 1.18”(30mm) deep

###### 17.71” (450mm) wide x 1.18” (30mm) deep

###### 19.69” (500mm) wide x 1.18” (30mm) deep

###### 23.62” (600mm) wide x 1.18” (30mm) deep

###### 27.56” (700mm) wide x 1.18” (30mm) deep

###### 31.50” (800mm) wide x 1.18” (30mm) deep

##### Acceptable Wall System: “Metalite FC Rainscreen” by Tremco CPG, Inc.

#### ACCESSORIES:

##### Provide manufacturer’s standard accessories (aluminum click rails, guidance snappers, fixed point holders) and other items essential to completeness of wall panel system installation.

#### AIR AND WATER-RESISTIVE BARRIER

[Note to Specifier: Select air/water-resistive barrier material as required for both the design intent and warranty requirements of Section 1.8 herein. Delete the remaining options below that are not applicable once selected for the Project.]

##### Permeable

###### Tremco ExoAir® 210AT: A permeable, self-adhered sheet designed to be applied to exterior cavity walls to mitigate air infiltration/exfiltration and water penetration while remaining permeable to the passage of water vapor. ExoAir 210AT can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising. The material shall be protected from rain and washout prior to drying and can be exposed for up to 12 months during the construction process.

###### Tremco ExoAir® 230/230LT: A thick-film synthetic, permeable, elastomeric air/water-resistive membrane barrier designed to be roller or spray applied. ExoAir 230 can be installed in ambient air and substrate surface temperatures of 40°F (5°C) and rising. ExoAir 230LT is a low-temperature grade of ExoAir 230 and can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising. The material shall be protected from rain and washout prior to drying and can be exposed for up to 12 months during the construction process.

###### Tremco Securock ExoAir® 430: USG Ultralight glass mat exterior sheathing, available in ½” or 5/8” Type X (UL Type USGX), with a factory-applied, high-performance air/water-resistive barrier coating. In-plant application of the membrane ensures uniformity, strong adhesion, climate independence during application, and eliminates in-field sheathing preparation. Joint and fastener detailing must utilize either Tremco Dymonic 100 sealant or ExoAir Dual Flash liquid flashing. Securock ExoAir 430 can be exposed for up to 12 months during the construction process.

##### Impermeable:

###### Tremco ExoAir® 110AT: An impermeable self-adhered sheet designed to be applied to exterior cavity walls to mitigate air infiltration/exfiltration, vapor transmission, and water penetration.  ExoAir 110AT can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising. The material shall be protected from rain and washout prior to drying and can be exposed for up to 12 months during the construction process.

###### Tremco ExoAir® 130: A thick-film synthetic, permeable, elastomeric air/water-resistive membrane barrier designed to be roller or spray applied.  ExoAir 130 can be installed in ambient air and substrate surface temperatures of 40°F (5°C) and rising. The material shall be protected from rain and washout prior to drying and can be exposed for up to 12 months during the construction process.

### MISCELLANEOUS MATERIALS

#### FASTENERS:

##### All self-tappingt/self-drilling fasteners and rivets shall be designed to withstand specified design loads.

##### All fasteners to be manufactured from series 304 austenitic stainless steel.  Rivet style fasteners to be manufactured from aluminum or stainless steel.

##### Provide neoprene washers under the heads of all exposed fasteners.

##### Use proper torque settings to obtain controlled uniform compression for a positive seal without rupturing the neoprene washer.

#### ACCESSORIES:

##### Provide all components required per the approved shop drawings for a complete metal wall system to include panels, fasteners, trims/flashings, extrusions and any other required items.

## FABRICATION

### PANELS:

#### Provide factory-formed panels 9.84” / 11.81" / 13.78” / 15.75”/ 17.72” / 19.69” / 23.62” / 27.56” / 31.50” (250mm / 300mm / 350mm / 400mm / 450mm / 500mm / 600mm / 700mm / 800mm) wide with 1.18" (30mm) leg depth.

##### TRIM/FLASHING:

###### Fabricated trims/flashings to be from same material and gauge as wall panel system.

###### Fabricate trims/flashings in accordance with approved shop drawings and applicable standards.

## FINISH

### Two-Coat Fluoropolymer Finish: Standard fluoropolymer 2-coat system consisting of 0.2 mil primer and 0.8 mil 70 percent PVDF fluoropolymer color coat.

#### Color: As selected from manufacturer’s standard colors

#### Color: As selected from manufacturer’s custom colors

#### Color: _________________.

### Two-Coat Fluoropolymer Finish: MICA metallic appearing coating, 0.25 mil primer with 0.8 mil 70 percent PFCF fluoropolymer color coat containing pearlescent flakes.

#### Color: As selected from manufacturer’s standard colors

#### Color: As selected from manufacturer’s custom colors

#### Color: _________________.

### Three-Coat Fluoropolymer Finish: Metallic finish, 0.25 mil primer with 0.75 mil 70 percent PVDF fluoropolymer coating containing metallic flakes and 0.5 mil 70 percent PVDF fluoropolymer clear top coat.

#### Color: As selected from manufacturer’s standard colors

#### Color: As selected from manufacturer’s custom colors

#### Color: _________________.

# EXECUTION

## EXAMINATION

### Examine the alignment and placement of the building structure and substrate. Correct any objectionable warp, waves or buckles in the substrate before proceeding with installation of the pre-formed metal wall panel.  The installed wall panels will follow the contour of the structure and may appear irregular if not corrected.

### Do not proceed with installation until discrepancies have been resolved.

## INSTALLATION

### Install wall panels and flashings in accordance with approved shop drawings and manufacturer's product data, within specified erection tolerances.

### Anchor panels securely in place using fasteners and spacing in accordance with manufacturer’s recommendations.

### Do not allow panels or trim to come in contact with dissimilar materials such as copper, fire retardant treated timber, concrete/mortar.  Water runoff from dissimilar materials is also prohibited

## CLEANING

### Clean exposed surfaces of excess material and debris promptly after completion of installation.

### Clean installed products in accordance with manufacturer's instructions prior to owner's acceptance.

## PROTECTION

### Protect work as required to ensure wall panel system will be without damage at time of final completion.

### Replace products having damage other than minor finish damage.

### Repair products having minor damage to finish in accordance with panel manufacturer’s recommendations.

END OF SECTION