DS191

CEMENT BOARD MD FINISH SYSTEMTM

An Exterior Finish System Applied Over Exterior Cement Board That Incorporates an Air/Water-Resistive Barrier and Moisture Drainage

SPECIFICATION 07 24 23

Tremco CPG Inc.

3735 Green Road

Beachwood, OH 44122

INTRODUCTION

This manufacturer’s guide specification is intended for use by design and construction professionals in the development of project specifications.  By referring to the manufacturer’s “Notes to Specifier” in parentheses, the specifier may easily select the portions of the comprehensive guide specification which are pertinent to the project.  “Notes to Specifier” should then be deleted from the final specification document.  This guide specification follows the Construction Specification Institute’s MasterFormat and SectionFormat protocols.

It is prudent to place certain parts of the Dryvit Cement Board MD System Specification in other parts of the project’s total specification, such as sheathing, air and water-resistive barrier membrane, accessory materials, sealants and framing, as applicable.  The project design professional is responsible for verifying that project specifications are suitable for any project.  For assistance in preparing your specifications, please contact your Dryvit Distributor, your local Dryvit Technical Sales Representative, or Dryvit Technical Services.

WARNING

The Cement Board MD System is defined as a Dryvit Direct-Applied Finish System. The Direct-Applied Finish System is intended to discharge incidental moisture should it penetrate and reach the drainage plane.  Specifications must be followed, and proper details implemented, to prevent water intrusion which may result in damage to the Cement Board MD System or other building components.  Care should be taken to ensure that all building envelope elements, such as roofing, windows, flashings, sealants, etc., are compatible with this Direct-Applied Finish System.

The Cement Board MD System is an engineered assembly of numerous compatible components: A fluid-applied air and water-resistive barrier membrane, drainage spacer(s), compatible cement board substrate, base coat, reinforcing mesh, and finish coat.

DISCLAIMER

It is the responsibility of both the specifier and the purchaser to determine if a product is suitable for its intended use.  The designer selected by the purchaser is responsible for all decisions pertaining to design, detail, structural capability, attachment, shop drawings, etc.  The Direct-Applied Finish System Manufacturer has prepared guidelines in the form of specifications, installation details, application instructions and product data sheets to facilitate the design process only.  The Manufacturer is not liable for any errors or omissions in design, detailing, structural capability, attachment, project-specific shop drawings, or the like, whether based upon the information prepared by the Manufacturer or otherwise, or for any changes which purchasers, specifiers, designers, or their appointed representatives may make to the Manufacturer’s published information.

The information contained in this specification conforms to standard detail and product recommendations for the installation of the Dryvit Cement Board MD System as of the date of publication of this document and is presented in good faith.  Tremco CPG Inc. (Dryvit) assumes no liability, expressed or implied, as to the architecture, engineering or construction of any project.  To ensure that you are using the latest, most complete information, contact your local Dryvit Technical Sales Representative, visit our website at https://www.dryvit.com/or contact Dryvit Engineering at:

Tremco CPG Inc.

3735 Green Road, Beachwood, OH 44122

(800) 556-7752

engineering@dryvit.com

CAUTIONS AND LIMITATIONS

- Use is limited to applications on projects not exceeding 5 stories.

- Minor cracking is possible in the finished exterior surface.

- Non-insulated claddings may exhibit shadowing (“ghosting”) of fasteners and/or framing members due to varying exterior surface temperatures. Critical light will tend to exaggerate construction irregularities when coatings are applied directly to sheathing in framed construction.

- Base coat material shall not be used to level wall surface imperfections.

- Consult exterior cement board manufacturer requirements for stud spacing, fastening requirements, wind load limitations, and other design and installation considerations.

TABLE OF CONTENTS

PART 1	GENERAL	3

1.1	SUMMARY	3

1.2	RELATED REQUIREMENTS	5

1.3	references	5

1.4	ADMINISTRATIVE REQUIREMENTS	7

1.5	ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS	8

1.6	QUALITY ASSURANCE	8

1.7	DELIVERY, STORAGE AND HANDLING	9

1.8	SITE CONDITIONS	9

1.9	WARRANTY	9

PART 2	PRODUCTS	10

2.1	MANUFACTURERS	10

2.2	DESCRIPTION	11

PART 3	EXECUTION	17

3.1	EXAMINATION	17

3.2	PREPARATION	18

3.3	INSTALLATION	18

3.4	SITE QUALITY CONTROL	19

3.5	CLEANING	19

# GENERAL

## SUMMARY

[Note to Specifier: The substrate and cement board are not manufactured by Dryvit and therefore are not part of the system. Performance of these substrates are the responsibility of the applicable manufacturer.]

### Provide a Direct-Applied Finish System (Direct-Applied Finish System) with Drainage. Basis of Design shall be Dryvit Cement Board MD System that includes the following:

#### An integral fluid-applied air and water-resistive barrier membrane compatible with the substrate surface.

#### Accessory materials required for treating sheathing joints, fasteners, penetrations, rough openings, and material transitions compatible with substrate.

#### Joint sealants or expanding, compressive, water-tight joint filler materials compatible with DIRECT-APPLIED FINISH SYSTEM for use in all exterior envelope joint waterproofing.

#### A comprehensive, single-source, limited warranty inclusive of DIRECT-APPLIED FINISH SYSTEM, fluid-applied air and water-resistive barrier membrane, accessory materials, and sealant and/or expansion joint materials.

### Design Requirements

[Note to Specifier: It is the responsibility of both the specifier and the purchaser to determine if a product is suitable for their intended use. The designer selected by the purchaser shall be responsible for all decisions pertaining to design, detailing, structural capability, attachment, shop drawings, and the like. Dryvit has prepared guidelines in the form of specifications, application details, and product data sheets to facilitate the design process only. Dryvit is not liable for any errors or omissions in design, detailing, structural capability, attachment, shop drawings, or the like, whether based up on the information prepared by Dryvit or otherwise, or for any changes which purchasers, specifiers, designers, or their appointed representatives may make to Dryvit’s published comments.

Segments of the information in 1.1.B may be removed once the architect of record as met those applicable requirements in design, unless delegating this information to another design professional. If this information has not been addressed in the contract documents for the project, this information must remain. All materials must be properly specified to meet the requirements below.]

#### A sheathing board substrate installed over structural framing prior to installation of a code-approved air/water-resistive barrier system shall be one of the following:

##### Exterior sheathing having a water-resistant core with fiberglass mat facers meeting ASTM C1177

##### Exterior fiber-reinforced cement board complying with ASTM C1325, or calcium silicate boards

##### APA Exterior or Exposure 1-rated Plywood, Grade C-D or better, nominal ½ in (12.7 mm) minimum, installed with the C face out

##### APA Exterior or Exposure 1 Fire Retardant Treated (FRT) Plywood, Grade C-D or better, nominal ½ in (12.7 mm) minimum, installed with the C face out

[Note to Specifier: If specifying Backstop NTX as the air/water-resistive barrier system, two coats of Backstop NTX – Smooth are required over OSB substrates. Backstop NTX – Texture is not recommended in the field of wall application over OSB.]

##### APA Exposure 1-rated Oriented Strand Board (OSB), nominal ½ in (12.7 mm) minimum

#### The outer layer sheathing shall be exterior cement board meeting ASTM C1325, minimum ½ in (12.7 mm).

#### The roofing materials shall be loaded onto the roof and interior wall board stocked in the building prior to installation of the DIRECT-APPLIED FINISH SYSTEM.

#### Deflection of the structural substrate shall not exceed L/360.

#### The slope of inclined surfaces shall not be less than 6:12 (27°) and the length shall not exceed 12 in (305 mm).

#### Expansion Joints

##### Design and location of expansion/control joints in the substrate shall be by the project design professional and indicated on the contract documents. As a minimum, joints in the DIRECT-APPLIED FINISH SYSTEM are required at the following locations:

###### Where expansion joints occur in the substrate system

###### Where building expansion joints occur

###### At floor lines in wood frame construction

###### Where the DIRECT-APPLIED FINISH SYSTEM abuts similar materials

###### Where the substrate changes

###### Where significant structural movement occurs, such as changes in roof line, building shape, or structural system

#### Control Joints

##### Design and location of control joints shall be determined by the design professional. As a minimum, control joints shall be placed at the following locations:

###### Corners of openings

###### Such that wall lengths do not exceed 20 feet (6 m)

###### Such that length-to-width ratios of wall areas do not exceed 2.5:1

#### Sealants

##### Use and location of sealants is the responsibility of the project designer and shall be specified, as well as illustrated on the construction documents.

##### Refer to Section 1.3.D.8 for sealants compatible with DIRECT-APPLIED FINISH SYSTEM.

#### Vapor Retarders

##### Use and location of vapor retarders within a wall assembly is the responsibility of the project designer and shall comply with local building code requirements. Type and location shall be noted on the contract documents. Vapor retarders may be inappropriate in certain climatic zones and can result in condensation within the wall assembly when incorrectly used.

#### Flashing shall be provided at all roof-to-wall intersections, windows, doors, chimneys, decks, balconies, and other areas as necessary to prevent water penetration behind the DIRECT-APPLIED FINISH SYSTEM.

#### EPS Architectural Shapes

##### Site-coated EPS Architectural Shapes shall be coated on site utilizing the same materials (EPS, base material mixture, reinforcing mesh, and finish) as specified for the project and shall be compatible with the DIRECT-APPLIED FINISH SYSTEM.

##### Machine-coated EPS Architectural Shapes shall be sourced directly from Dryvit or shall be supplied by a manufacturer that subscribes to the Dryvit Third Party Quality Assurance Program.

## RELATED REQUIREMENTS

              - [Note to Specifier: Delete any sections below not relevant to this project and add others as required.]

### 01 31 19	Project Meetings

### 05 40 00	Cold-formed Metal Framing

### 06 11 00	Wood Framing

[Note to Specifier: Engineered framing system components such as parapet nailers and rough opening buck framing are available from Prebuck LLC, a division of Tremco CPG Inc. Coordinated specification of these items can be incorporated into the overall Tremco CPG limited warranty.]

### 06 16 00	Sheathing

### 07 27 00	Fluid-Applied Air Barriers

### 07 62 00	Sheet Metal Flashing and Trim

### 07 92 00	Joint Sealants

[Note to Specifier: Coordinate 07 92 00 with Section 2.2.C. Be advised that while sealants from other manufacturers are acceptable for use with the Cement Board MD System (in accordance with Dryvit document DS153), the Cement Board MD System Warranty will gain an additional 2-year extension when specifying Tremco sealant materials.]

### 08 40 00	Entrances, Store Fronts, and Curtain Walls

### 08 50 00 	Windows

## references

### American Society of Testing and Materials (ASTM)

#### ASTM C150 Standard Specification for Portland Cement

#### ASTM C297 Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions

#### ASTM C920 Standard Specification for Elastomeric Joint Sealants

#### ASTM C1177 Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing

#### ASTM C1305 Standard Test Method for Crack Bridging Ability of Liquid-Applied Waterproofing Membrane

#### ASTM C1325 Standard Specification for Non-Asbestos Fiber-mat Reinforced Cementitious Backer Units

#### ASTM C1516 Standard Practice for Application of Direct-Applied Exterior Finish Systems

#### ASTM D968 Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive

#### ASTM D1970 Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

#### ASTM D2247 Standard Practice for Testing Water Resistance of Coatings in 100% Relative Humidity

#### ASTM D3273 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

#### ASTM D4060 Standard Test Method for Abrasion Resistance of Organic Coatings by the Taber Abraser

#### ASTM E84 Standard Test Method for Surface Burning Characteristics of Building Materials

#### ASTM E96 Standard Test Methods for Water Vapor Transmission of Materials

#### ASTM E283 Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls and Doors Under Specified Pressure Differences Across the Specimen

#### ASTM E331 Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Uniform Static Air Pressure Difference

#### ASTM E2098 Test Method for Determining the Tensile Breaking Strength of Glass Fiber Reinforcing Mesh for use in Class PB Exterior Insulation and Finish Systems (EIFS), after Exposure to Sodium Hydroxide Solution

#### ASTM E2178 Standard Test Method for Air Permeance of Building Materials

#### ASTM E2273 Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies

#### ASTM E2357 Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

#### ASTM G155 Standard Practice for Operating-Xenon Arc Light Apparatus for Exposure of Nonmetallic Materials

### National Fire Protection Association (NFPA) Standards:

#### NFPA 268 Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Source

### The American Association of Textile Chemists and Colorists:

#### AATCC 127-08	Water Resistance: Hydrostatic Pressure Test

### Dryvit (Tremco CPG Inc.)

#### Dryvit Cement Board MD Data Sheet, DS480

#### Dryvit Cement Board MD Installation Details, DS190

#### Dryvit Backstop NTX Data Sheet, DS455

#### Dryvit Backstop NTX Specifications, DS180

#### Dryvit Backstop NTX Application Instructions, DS181

#### Tremco Securock ExoAir 430 Application Instructions, when specifying the Securock ExoAir 430 AWRB System

#### Other applicable Tremco data sheets, Application Instructions, and Specifications at www.tremcosealants.com

#### Dryvit Cleaning & Recoating, DS152

#### Expansion Joints & Sealants (Compatible with Dryvit), DS153

#### Dryvit System Maintenance Guide, DS235

## ADMINISTRATIVE REQUIREMENTS

### Pre-Construction Meetings

[Note to Specifier: A pre-construction meeting consisting of representatives from the Manufacturer, Applicator, Owner, and Consultant (if applicable) prior to the installation of the Products can further ensure a project’s success.]

#### The DIRECT-APPLIED FINISH SYSTEM installer shall coordinate with the General Contractor to schedule, invite and administer a pre-construction meeting including but not limited to the architect of record, consultant(s), DIRECT-APPLIED FINISH SYSTEM, cement board substrate, accessory materials and sealant manufacturers’ representatives and the owner to assure required integration of products selected as specified herein and for proper sequencing and installation detailing.

### Coordination

#### Coordinate for related specification and integration of selected materials as referenced in Sections 2.2.B. and 2.2.C. herein.

### Sequencing

#### Provide jobsite grading prior to installation of DIRECT-APPLIED FINISH SYSTEM so that the system may be terminated at least 6 in above grade [or as required by local code].

#### Coordinate installation of exterior sheathing, accessory materials, flashing, foundation waterproofing, roofing membrane, windows, doors, and other penetrations of the exterior walls to provide a continuous air and water-resistive barrier assembly.

#### Provide protection of rough openings before installing windows, doors, and other penetrations of the exterior walls.

#### Coordinate installation of windows and doors so air and water-resistive barrier membrane accessory materials, transitions, flashings, etc., are connected to them in a manner that provides a continuous barrier.

#### Install window and door head flashing immediately after windows and doors are installed.

#### Install diverter flashings wherever water can enter the wall assembly to direct water to the exterior.

#### Install copings and sealants immediately after installation of the DIRECT-APPLIED FINISH SYSTEM and when DIRECT-APPLIED FINISH SYSTEM coatings are dry.

#### Attach penetrations through DIRECT-APPLIED FINISH SYSTEM to structural support and provide water-tight seals at penetrations.

## ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS

### Submit product data as required by Section 01 33 00, Administrative Requirements.

### Submit two (2) samples of the DIRECT-APPLIED FINISH SYSTEM for each finish, texture, and color to be used on the project.  Use the same tools and techniques proposed for the actual installation.  Make the samples of sufficient size to accurately represent each color and texture being utilized on the project.

### Submit a copy of the manufacturer’s installation details and application instructions.

## QUALITY ASSURANCE

### Manufacturer’s Qualifications

#### A member, in good standing, of the EIFS Industry Members Association (EIMA).

#### Manufacture EIFS with Drainage and DIRECT-APPLIED FINISH SYSTEM materials at a facility covered by current ISO 9001 and ISO 14001 certification.  Certification of the facility shall be done by a registrar accredited by the American National Standards Institute, Registrar Accreditation Board (ANSI-RAB).

### Contractor Qualifications

#### Shall be knowledgeable in the proper installation of the DIRECT-APPLIED FINISH SYSTEM.

#### Shall have qualified and properly trained mechanics to perform the work.

#### Shall be licensed, bonded and insured.

#### Successfully complete a minimum of three (3) projects of similar scope and scale to the specified project.

### Mock-Up

#### Provide the owner/architect with a mock-up for approval. Mock-up shall:

##### Be of suitable size as required to accurately represent the products being installed, as well as each color and texture to be utilized on the project.

##### Be prepared with the same products, tools, equipment and techniques required for the actual applications.  Use finish from the same batch that is being used on the project.

##### Include transitions representative of the Project’s design, including at least one window, penetration, cladding transition, or any other condition that will require coordination among various trades.

##### Be available and maintained at the jobsite.

### Inspections

#### Cooperate with independent, third-party inspectors when required by code or by contract documents.

## DELIVERY, STORAGE AND HANDLING

### Deliver all DIRECT-APPLIED FINISH SYSTEM components and materials to the job site in the original, unopened packages with labels intact.

### Verify all DIRECT-APPLIED FINISH SYSTEM components and materials will be within shelf life in coordination with the Project’s construction schedule.

### Inspect all DIRECT-APPLIED FINISH SYSTEM components and materials upon arrival for physical damage, freezing or overheating. Do not use questionable materials.

### Store all DIRECT-APPLIED FINISH SYSTEM components and materials at the jobsite in a cool, dry location, out of direct sunlight, protected from weather and other sources of damage. Maintain minimum and maximum storage temperature as stated in the product data sheets or specifications for the materials selected.

#### Minimum storage temperatures shall be no less than 40 °F (4 °C).

#### Minimize exposure of materials to temperatures over 90 °F (32 °C).  Finishes exposed to temperatures over the published maximum storage temperature for even short periods may exhibit skinning and increased viscosity and should be documented and inspected prior to use.

### Protect all products from inclement weather and direct sunlight.

## SITE CONDITIONS

### Ambient Conditions

#### Do not apply wet materials during inclement weather unless appropriate protection is provided. Protect materials from inclement weather until they are completely dry.

#### Verify the minimum air and wall surface temperatures at the time of application as stated in the product data sheets or specifications for the materials selected.

#### Maintain these temperatures with adequate air ventilation and circulation for a minimum of 24 hours (48 hours for specific Specialty Finishes) thereafter, or until the products are completely dry.

## WARRANTY

### Manufacturers’ Limited Warranty

#### The manufacturer shall offer a limited material defect and labor to repair or replace defective material warranty stating the Products will be free from manufacturing defect and will perform as warranted in the manner specified for the stated term measured from the Date of Project Substantial Completion.

##### A pre-construction meeting, including representatives of the Manufacturer, the Applicator, the Owner, and the Consultant (if applicable), shall be required prior to installation of the Products.

##### The term of this warranty shall be extended for an additional 2 years with involvement on the project of a Manufacturer-approved, third-party consultant (“Consultant”) engaged by the Owner or its authorized representative, at the Owner’s sole expense. Inspection reports generated by the Consultant shall be made available to the Manufacturer and the Owner.

##### The warranty shall be available upon written request.

#### The DIRECT-APPLIED FINISH SYSTEM warranty shall additionally include the following for the term of the warranty or as specifically noted hereunder.

##### The DIRECT-APPLIED FINISH SYSTEM warranty term shall be 10 [12] years.

##### The DIRECT-APPLIED FINISH SYSTEM will remain in a watertight condition when the DIRECT-APPLIED FINISH SYSTEM is used in conjunction with compatible Joinery and Sealants.

##### Finish will be UV fade resistant for 10 years, except for specially produced colors.

###### Specially produced colors will be UV fade resistant for 5 years when high-performance colorants are used to formulate.

### Installer Warranty

#### DIRECT-APPLIED FINISH SYSTEM Installer shall provide a separate warranty for all workmanship related to the proper installation of the DIRECT-APPLIED FINISH SYSTEM.  The Manufacturer shall not be responsible for workmanship associated with the installation of the DIRECT-APPLIED FINISH SYSTEM.

# PRODUCTS

## MANUFACTURERS

### Manufacturers

#### Dryvit, www.dryvit.com, (800) 556-7752.

##### 200 Frenchtown Road, North Kingstown, RI 02852

##### 354 South Acacia Street, Woodlake, CA 93286

##### 4827 Milgen Road, Columbus, GA 31907

##### 5850 South 116th West Ave., Sand Springs, OK 74063

#### Tremco CPG Inc., 3735 Green Road Beachwood, OH 44122, www.tremcocpg.com, (800) 321-7906.

### Substitution Limitations

#### All components of the Cement Board MD System shall be supplied or obtained from Dryvit (Tremco CPG Inc.) or an authorized distributor.  Substitutions or additions of materials manufactured or supplied by others will void the DIRECT-APPLIED FINISH SYSTEM warranty.

#### Alternate DIRECT-APPLIED FINISH SYSTEM manufacturers must demonstrate equivalencies for all elements of DIRECT-APPLIED FINISH SYSTEM such as but not limited to

##### Material component performance, compatibility and testing

##### Standard and specialty finishes

##### Color and texture matching

##### Warranty criteria as specified herein.

#### Submit alternate DIRECT-APPLIED FINISH SYSTEM manufacturer’s complete data highlighting equivalency for review through Substitution Requirements as defined in Division 1.

## DESCRIPTION

### System Description

#### The Basis of Design shall be the Dryvit Cement Board MD System. This is a Direct-Applied Exterior Finish System (DIRECT-APPLIED FINISH SYSTEM) with Drainage, consisting of

##### An Air and Water-Resistive Membrane Barrier

##### Accessory Materials

##### Drainage Medium

##### Cement Board or Calcium Silicate Board Substrate

##### Base Coat

##### Reinforcing Mesh

##### Finish Coat

##### Joint Sealants as specified herein.

### Materials

#### Fluid-Applied Air and Water-Resistive Barrier

[Note to Specifier: Select air/water-resistive barrier material as required for both the design intent and warranty requirements of Specification 07 27 00. Delete the remaining options below that are not applicable once selected for the Project.]

##### Permeable

###### Dryvit Backstop® NTX: A vapor permeable, low-temperature, flexible, polymer-based non-cementitious water-resistive and air barrier coating available in Texture and Smooth versions.  Backstop NTX can be installed in ambient air and substrate surface temperatures of 25°F (-4°C) and rising for a minimum of 24 hours and exposed for up to 6 months during the construction process. Backstop NTX Texture is additionally used for treatment of sheathing board joints, inside / outside corners and spotting of sheathing fastener heads. The material shall be protected from rain and washout prior to drying.

###### Tremco ExoAir® 2000: A vapor permeable, low-temperature, flexible, polymer-based non-cementitious water-resistive and air barrier. ExoAir 2000 can be installed in ambient air and substrate surface temperatures of 25°F (-4°C) and rising for a minimum of 24 hours and exposed for up to 6 months during the construction process. The material shall be protected from rain and washout prior to drying.

###### Tremco ExoAir® 230/230LT: A thick-film synthetic, permeable, elastomeric air/water-resistive membrane barrier designed to be roller or spray applied.  ExoAir 230 can be installed in ambient air and substrate surface temperatures of 40°F (4°C) and rising. ExoAir 230LT is a low-temperature grade of ExoAir 230 and can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising. The material shall be protected from rain and washout prior to drying and can be exposed for up to 12 months during the construction process.

###### Tremco Securock ExoAir® 430: USG Ultralight glass mat exterior sheathing, available in ½” or 5/8” Type X (UL Type USGX), with a factory-applied, high-performance air/water-resistive barrier coating. In-plant application of the membrane ensures uniformity, strong adhesion, climate independence during application, and eliminates in-field sheathing preparation. Joint and fastener detailing must utilize either Tremco Dymonic 100 sealant or ExoAir Dual Flash liquid flashing. Securock ExoAir 430 can be exposed for up to 12 months during the construction process.

##### Non-Permeable

###### Dryvit Backstop® NT-VB (Vapor Barrier): A non-permeable (class I vapor retarder), flexible, polymer-based non-cementitious water-resistive and air barrier coating.  Backstop NT-VB can be installed in ambient air and substrate surface temperatures of 40 °F (4°C) and rising for a minimum of 24 hours and exposed for up to 6 months during the construction process.  Backstop NT-VB Texture is additionally used for treatment of sheathing board joints, inside/outside corners and spotting of sheathing fastener heads. Backstop NT-VB requires a two-coat application in the field of the wall. The material shall be protected from rain and washout prior to drying.

#### Accessory Materials for Fluid Applied Air and Water-Resistive Barrier (AWRB)

[Note to Specifier: Compatibility notes are provided below for ease of specification editing based upon air/water-resistive barrier membrane selection in Section 2.2.B. Delete irrelevant materials based on selected air/water-resistive barrier membrane and desired warranty term. Delete notes upon completion of editing.]

##### Provide compatible accessory materials as required by project conditions for substrate preparation, rough opening and penetration preparation, bridging expansion joints in substrate, material transitions and flashing integration to produce a complete air and water-resistive, water-shedding assembly.

###### Dryvit Grid Tape™[keep only if specifying Backstop NTX or NT-VB]: An open weave fiberglass mesh tape with pressure sensitive adhesive.  Used in combination with Backstop NTX Texture or Backstop NT-VB Texture for treating sheathing board joints and inside/outside corners, and preparing rough openings and penetrations.  Backstop NTX Texture or Backstop NT-VB Texture are used alone for spotting fastener heads.

###### Dryvit AquaFlash®[applicable to all air/water-resistive barriers in this specification aside from Securock ExoAir 430]: Fluid-applied, water-based polymer transition membrane.  Used in preparing rough openings and penetrations, bridging expansion joints in substrate, material transitions and flashing integration.  AquaFlash can be installed in ambient air and substrate surface temperatures of 40 °F (4 °C) and rising for 24 hours.

Dryvit AquaFlash Mesh: Polyester reinforcing mesh for use with AquaFlash.

###### Dryvit Backstop Flash and Fill[keep only if specifying Backstop NTX or NT-VB]: A flexible, waterproof, low temperature gun applied material.  Used in substrate preparation, treating sheathing board joints, inside/outside corners and fastener heads, preparing rough openings and penetrations and flashing integration.  Backstop Flash and Fill can be installed in ambient air and substrate surface temperatures of 32°F (0°C) and rising for 24 hours.

Dryvit Backstop Flash and Fill may only be used with the Dryvit Backstop NT-VB or Backstop NTX air/water-resistive barrier membranes.

###### Tremco Dymonic® 100[compatible with ExoAir 2000, Securock ExoAir 430, ExoAir 230/230LT, Backstop NTX, and Backstop NT-VB]: A high-performance, high-movement, single-component, medium-modulus, low-VOC, UV-stable, non-sag, gun applied polyurethane sealant.   Used in substrate preparation, treating sheathing board joints and inside/outside corners and fastener heads, preparing rough openings and penetrations, bridging expansion joints in substrate, material transitions and flashing integration.  Dymonic 100 can be installed in ambient air and substrate surface temperatures of 40°F (4°C) and rising.

Where Dymonic 100 must be applied in temperatures below 40°F (4°C), refer to the Tremco Technical Bulletin for Applying Sealants in Cold Conditions (No. S-08-44 rev 1) that can be found at www.tremcosealants.com.

###### Tremco ExoAir® DualFlash[compatible with ExoAir 2000, Securock ExoAir 430, ExoAir 230/230LT, Backstop NTX, and Backstop NT-VB]: A gun and roller-grade liquid-applied flashing membrane. Used in substrate preparation, treating sheathing board joints and inside/outside corners, sheathing fastener heads, preparing rough openings and penetrations, material transitions, flashing integration, and roof tie-ins. ExoAir DualFlash skins and cures quickly, allowing for expedited construction timelines.  ExoAir DualFlash can be installed in ambient air and substrate surface temperatures of 20°F (-6°C) and rising, and must be fully cured before applying the air/water-resistive barrier.

###### Tremco ExoAir® 110AT[compatible with ExoAir 2000, Securock ExoAir 430, ExoAir 230/230LT, Backstop NTX, and Backstop NT-VB]: An 18-mil composite, impermeable membrane that is comprised of 12 mils of butyl and 6 mills of HDPP facer.  Used in limited applications as a membrane flashing that will not interfere with the adhesive application of EIFS.

#### Drainage Components

              - [Note to Specifier: Choose one of the two options below.]

##### Dryvit MD Spacer™: A polyethylene spacer which separates the exterior cement board from the sheathing substrate.

##### Dryvit Drainage Mat: A 3/16 in (6 mm) thick, 3D polyester drainage matrix that is blue in color.

#### Pre-Coated EPS Architectural Shapes

##### Machine-coated EPS Architectural Shapes shall be produced by Tremco CPG Inc. (Dryvit) and ordered through the local Dryvit Technical Sales Representative.

##### Expanded Polystyrene (EPS) shall be 1 pcf nominal density and meet the requirements of Dryvit DS131. EPS shall be produced by a manufacturer listed with and approved by Dryvit.

#### Base Coat

##### Liquid polymer-based base coat field mixed with Portland cement.

[Note to Specifier: Dryvit Dryflex is commonly used in isolated conditions where very high exposure to liquid water may be anticipated, such as greatly exposed, sloped EIFS surfaces.]

###### Dryvit Genesis®

###### Dryvit Dryflex®

##### Ready mixed dry blend cementitious, copolymer-based base coat field mixed with water.

###### Dryvit Genesis® DM

###### Dryvit Genesis® DMS

#### Reinforcing Mesh

##### Open-weave, glass fiber fabric treated for compatibility with other EIFS and DIRECT-APPLIED FINISH SYSTEM materials.

##### Shall be Dryvit Standard Mesh for the typical field-of-wall condition and shall be installed over the entire exterior cement board face. The mesh shall be blue in color.

###### Mesh used for cement board joints, inside corners, outside corners, and splicing EPS Architectural Shapes shall utilize Dryvit Detail Mesh. The mesh shall be blue in color.

#### Finish Primer

##### Water-based, pigmented acrylic primer, color-coordinated with specified finish to provide a flat, uniformly absorbent surface to receive the specified acrylic finish.

###### Dryvit Color PrimeTM

#### Standard Finish

##### Water-based, acrylic coating with integral color and texture; formulated with Dirt Pickup Resistant (DPR) chemistry.

###### Quarzputz® DPR – open texture

###### Sandblast® DPR – medium texture

###### Freestyle® DPR – fine texture

###### Sandpebble® DPR – pebble texture

###### Sandpebble® Fine – fine pebble texture

###### Mojave DPR™ – medium to medium-large texture

##### Hydrophobic (HDP™) Finishes: 100% acrylic coating with integral color and texture and formulated with hydrophobic properties.

###### Quarzputz® HDP

###### Sandblast® HDP

###### Sandpebble® HDP

###### Sandpebble® Fine HDP

##### Lightweight, water-based acrylic coating with integral color and texture; formulated with Dirt Pickup Resistance (DPR) chemistry.

###### Quarzputz® E

###### Sandpebble® E

###### Sandpebble Fine® E

#### Specialty Finishes and Veneers

##### Ameristone™ – multi-colored quartz aggregates with a flamed granite appearance.

##### Stone Mist® – colored, ceramic-coated quartz aggregates.

##### Custom Brick™ – acrylic polymer-based finish used in conjunction with a proprietary template system to create the look of stone, brick, slate, or tile.

##### TerraNeo® – acrylic-based finish with large mica chips and multi-colored quartz aggregates.

##### NewBrick™ – A lightweight insulated brick veneer for use on exterior walls.

#### Elastomeric, water-based acrylic coating with integral color and texture; formulated with Dirt Pickup Resistance (DPR) chemistry

##### Weatherlastic® Quarzputz

##### Weatherlastic® Sandpebble

##### Weatherlastic® Sandpebble Fine

##### Weatherlastic® Adobe

#### Mildew-resistant, water-based, acrylic coating with integral color and texture; formulated with Proven Mildew Resistance (PMR™) chemistry

##### Quarzputz® PMR

##### Quarzputz® E PMR

##### Sandblast® PMR

##### Freestyle® PMR

##### Sandpebble® PMR

##### Sandpebble® E PMR

##### Sandpebble® Fine PMR

##### Sandpebble® Fine E PMR

#### Coatings, Primers, and Sealers (to be specified independently of a finish, not as a replacement)

##### Demandit® Smooth

##### Demandit® Sanded

##### Demandit® Advantage™

##### HDP Water-Repellent Coating

##### Weatherlastic® Smooth

##### Tuscan Glaze™

##### Color Prime™

##### Color Prime™ W

##### Primer with Sand™

##### Prymit®

##### SealClear™

### Joint Sealants

[Note to Specifier: Coordinate this section with Section 1.9 herein and Specification 07 92 00. Refer to Expansion Joints & Sealants (Compatible with Dryvit), DS153, for additional sealant options. Be advised that Silicone Sealants, manufactured by Tremco CPG Inc., are required for extended warranty.]

#### Silicone Sealants

##### Tremco Spectrem® 1: An ultra-low modulus, high-performance, one-part, moisture-curing silicone joint sealant with physical properties making it an ideal sealant for sealing dynamic joints.

##### Tremco Spectrem® 3: A general-purpose, low-modulus, high performance, one-part, neutral-cure, non-staining, low dirt pickup, construction-grade silicone sealant.

##### Tremco Spectrem® 4-TS: A multi-component, neutral-curing, non-staining, low dirt pickup, low-modulus silicone sealant specially formulated for use in dynamically moving building joints.  Spectrem 4-TS offers color flexibility with the opportunity to tint the material on site.

###### Coordination for custom sealant colors is required.

#### Polyurethane Sealant

##### Tremco Dymeric® 240FC: A multi-component, chemically curing polyurethane sealant that comes as a kit with a tintable base, curative packet, and a choice of 70 standard colors.

#### Hybrid Polyurethane Sealant

##### Tremco Dymonic® FC: A single-component, low-modulus, hybrid polyurethane sealant.

#### Sealant Primer

##### TREMprime™ Silicone Porous Primer (for porous surfaces), required when using Spectrem® 1, Spectrem® 3, Spectrem® 4-TS, or Dymonic® FC.

##### TREMprime™ Non-Porous Primer (for metals or plastics), required when using Spectrem® 1, Spectrem® 3, Spectrem® 4-TS, or Dymonic® FC.

##### Vulkem® Primer #171 (for porous surfaces), required when using Dymeric 240FC.

### Jobsite-Mixed Materials

#### Portland cement – verify is Type I, II, or IL, meeting ASTM C150, white or gray in color, fresh and free of lumps.

#### Water – verify is clean and free of foreign matter.

### Other Accessories That are Not Part of the DIRECT-APPLIED FINISH SYSTEM

[Note to Specifier: Type, style, and manufacturer of shall be indicated on the construction documents. In corrosive environments, casing bead, control joint, and other accessories are recommended to be manufactured of PVC or zinc.]

#### Steel accessories shall meet ASTM C841.

#### PVC accessories shall meet ASTM D1784 and ASTM C1063.

# EXECUTION

## EXAMINATION

### Verification of Conditions

#### Verify access to electric power, clean water and a clean work area at the location where the Dryvit materials are to be applied.

#### Verify the deflection of the sheathing substrate does not exceed 1/360 times the span.  Verify the cement board substrate is flat within 1/4 in (6.4 mm) in a 10 ft (3 m) radius.

#### Verify substrate is approved by DIRECT-APPLIED FINISH SYSTEM manufacturer, is sound, dry, tight to the structure, and has no surface voids, projections, or other conditions that may interfere with the DIRECT-APPLIED FINISH SYSTEM installation or performance.

#### Verify sheathing and cement board substrates are free of dust, loose particles, oil and other conditions that would affect the adhesion of materials and installation of DIRECT-APPLIED FINISH SYSTEM.

#### Verify all fasteners are corrosion resistant and are installed in a manner as to be flush with the surface of the cement board.

#### Verify all accessories, including corner aids, control and expansion joints, casing beads, etc. are properly fastened and positioned according to contract drawings, manufacturer requirements and local building code requirements.

#### Verify the air/water-resistive barrier system is of a proper type and, if sheet form, has been installed in a weatherboard fashion in accordance with building code and manufacturer’s requirements.

#### Verify the slope of inclined surfaces are not less than 6:12 (27°) where the length of the slope does not exceed 12 in (305 mm) or 3:12 (14°) where the length of the slope does not exceed 4 in (102 mm).

#### Verify metal roof flashings have been installed in accordance with Sheet Metal and Air Conditioning Contractors National Association (SMACNA) standards.

#### Verify all rough openings are flashed in accordance with the DIRECT-APPLIED FINISH SYSTEM manufacturer’s installation details, applicable building code requirements, and contract documents, and/or as otherwise necessary to prevent water penetration. Verify chimneys, balconies and decks have been properly flashed as necessary to prevent water penetration.

#### Verify windows and doors are installed and flashed per manufacturer's requirements and installation details.

#### Notify the general contractor of all discrepancies prior to the installation of the DIRECT-APPLIED FINISH SYSTEM.

#### Verify that expansion joints are installed

##### Where expansion joints occur in the substrate system

##### Where building expansion joints occur

##### At floor lines in wood frame construction

##### At floor lines of non-wood framed buildings where significant movement is expected

##### Where the DIRECT-APPLIED FINISH SYSTEM abuts dissimilar materials

##### Where the substrate type changes

##### Where prefabricated panels abut one another

##### In continuous elevations at intervals not exceeding 20 ft (6 m)

##### Where significant structural movement occurs, such as changes in roof line, building shape or structural system.

#### Vapor Retarders: The use and location of vapor retarders within a wall assembly shall be the responsibility of the project designer and shall comply with local building code requirements.  The type and location shall be noted on the project drawings and specifications.  Vapor retarders may be inappropriate in certain climates and can result in condensation within the wall assembly. DIRECT-APPLIED FINISH SYSTEM installer shall not deviate from what is depicted in the contract drawings.

## PREPARATION

### Protect the DIRECT-APPLIED FINISH SYSTEM materials from inclement weather and other sources of damage prior to, during, and following application until completely dry.

### Protect adjoining work and property during installation of the DIRECT-APPLIED FINISH SYSTEM.

### Prepare the substrate to be free of foreign materials, such as oil, dust, dirt, form-release agents, efflorescence, paint, wax, water repellants, moisture, frost, and any other condition that may inhibit adhesion.

## INSTALLATION

### Install the air/water-resistive barrier system in accordance with the applicable manufacturer’s application instructions.

### Secure the MD Spacer or the Dryvit Drainage Mat to the sheathing substrate and/or framing using corrosion-resistant staples through the air/water-resistive barrier. The Dryvit Drainage Mat shall be installed continuously behind the cement board substrate. If using the MD Spacer instead, the MD spacers shall be installed in continuous vertical strips at a maximum horizontal spacing of 16 in (406 mm) on center over each framing member. Additionally, install the spacer flush with the vertical edge of all system terminations and changes in wall direction. If other spacers are used, follow manufacturer’s instructions.

### Install the exterior cement board in accordance with manufacturer’s instructions and project requirements.

#### Align sheathing joints with the MD Spacer (if used) and install fasteners through the MD Spacer or other spacers as needed.

#### Do not align joints with corners of wall penetrations.

#### Exterior cement board joints shall be offset from sheathing board substrate joints.

### EPS Architectural Shape Application (if applicable)

### Adhere EPS Architectural Shapes to the cement board prior to applying base coat. Install Machine Coated Dryvit EPS Architectural Shapes in accordance with Dryvit Publication Architectural Shapes Application Instructions, DS1038.

### Install the DIRECT-APPLIED FINISH SYSTEM in accordance with ASTM C1516.  Apply base coat in sufficient thickness to fully embed the reinforcing mesh. Install all DIRECT-APPLIED FINISH SYSTEM products per applicable manufacturer Application Instructions and Data Sheets.

### Apply sealant to base coat surface prepared in accordance with Expansion Joints & Sealants (Compatible with Dryvit), DS153.

## SITE QUALITY CONTROL

### DIRECT-APPLIED FINISH SYSTEM manufacturer assumes no responsibility for on-site inspections or application of its products. The contractor shall be responsible for the proper application of DIRECT-APPLIED FINISH SYSTEM materials.

### The sealant contractor, if requested, shall certify in writing that the sealant application is in accordance with the sealant manufacturer's and the DIRECT-APPLIED FINISH SYSTEM manufacturer’s recommendations.

### Independent third-party inspection is required to verify installation according to local code and contract documents. As a minimum, it is recommended that inspection items include installation of the air/water-resistive barrier, flashings, and accessories, DIRECT-APPLIED FINISH SYSTEM materials, and sealants.

## CLEANING

### Remove all excess DIRECT-APPLIED FINISH SYSTEM materials from the job site in accordance with contract provisions and as required by applicable law.

### Leave all surrounding areas, where the DIRECT-APPLIED FINISH SYSTEM has been applied, free of debris and foreign substances resulting from the DIRECT-APPLIED FINISH SYSTEM sub-contractor’s work.